Towards a Low Energy, Sustainable Future for our Communities:

A Low Carbon Vision for China-UK Collaboration

N.Keith. Tovey   (杜伟贤):   HSBC Director of Low Carbon Innovation:    k.tovey@uea.ac.uk

School of Environmental Sciences, University of East Anglia, Norwich, NR4 7TJ, UK

## Abstract

It is widely recognised that significant steps must be taken soon to combat the ever-increasing emission of carbon dioxide into the earth’s atmosphere and the consequential warming of the planet.  Many prominent scientists believe that the developed world must aim to cut emissions by 60% by 2050 if the worst effects are to be avoided.  This is a challenge facing us all as we strive to alleviate poverty and yet protect the planet and its resources for future generations.   Tackling the problem requires innovation, creative solutions but above all a multi-pronged approach.   It is insufficient to consider only technical solutions: the correct legislation and management structures must also be in place as well as a desire to continually assess and improve on past performance.  Above all there must be a raising in awareness of the issues among the business and the general public.  It requires a dialogue that is visionary and free of technical jargon.

In 2003 the CRed (Community Carbon Reduction Programme) was established in the University of East Anglia to provide an integrated approach to the problem of climate change.   This paper reviews the approach taken by this programme and in particular the methods by which it is both engaging the community while at the same time trying to address the barriers which affect the development of a low carbon sustainable community.   It is critical in this approach to recognise that there is much already which is effectively trying to promote a low carbon future, but often these are done in isolation and integration of complementary ideas is important. The CRed Programme recognises that while communities of the future will have to address the issue though innovative new design, planning and management, there remain substantial social barriers in tackling many areas.  Issues such as old energy inefficient buildings present a particularly difficult challenge and yet these buildings will form the majority of buildings for many years to come.  Innovative approaches to the design and improvement of both new and old buildings are thus needed.

Introduction

Climate Change is one of the most serious issues currently facing mankind and it will require innovative and integrated ways to tackle the challenges ahead.  In 2000 the Royal Commission on Environmental Pollution (RCEP, 2000) published a report indicating that the UK should adopt a policy to reduce carbon dioxide emissions by 60% by 2050.  This was consistent with its recommendation 21:

"Our view is that an effective, enduring and equitable climate protocol will eventually require emission quotas to be allocated to nations on a simple and equal per capita basis. There will have to be a comprehensive system of monitoring emissions to ensure the quotas are complied with.".

While imposing a tough regime on developed countries it allows some increases in emissions in developing countries to achieve the ultimate goal of equality.   The UK Government (2003a) in their initial response was not so convinced that this was the approach that should be taken, but nevertheless in the White Paper later that year (UK Government 2003b) accepted the RCEP's recommendation for a 60% reduction in CO2 levels in the UK.

“There will be much more local generation, in part from medium to small local/community power plant, fuelled by locally grown biomass, from locally generated waste, and from local wind sources.  These will feed local distributed networks, which can sell excess capacity into the grid.’’

Fig. 1.  Shows the current annual emissions of carbon dioxide per capita for several countries ranging from 19.7 tonnes for the USA, through 9 tonnes in the UK and 2.5 tonnes in China. Following the RCEP recommendations an average per capita emission of approximately 4 tonnes per annum would be the target for each citizen on the planet.

Fig. 1.  Current annual emissions of CO2  for selected countries.  Data based on DTI (2005).

While the UK Government endorses the RCEP target, it gives little information on how the target will be met and thereby provide low energy, sustainable communities in the future.

It is essential that a multi-pronged approach be adopted which includes:

- New and efficient ways of providing a diverse and secure supply of energy taking due account of any technical and physical limitations,

- Raising awareness among businesses and individuals to demonstrate that every one has a role to play in reducing carbon emissions,

- Innovative new low energy design of buildings,

- Effective management of the infrastructure of buildings and distribution networks to ensure optimum performance,

- Tackling the problem of energy inefficiency in existing buildings,  particularly when many are historic symbols of our heritage,

- Addressing issues of transportation and in particular personal mobility,

- Providing solutions to an ever-increasing waste problem.

This paper begins with a discussion of the partnerships needed to promote a low carbon future and is followed by an outline of an innovative and visionary iconic concept for a novel integrated power station, which would be at the heart of the community.   Initially it is envisaged such a project would be constructed in the city of Norwich in the UK.  It is also intended that interest will be raised such that similar projects in other cities in the world, particularly those in China would also be developed.    Finally there follows a brief review of some of the work undertaken by the University of East Anglia as it plays its part towards carbon reduction.  Experience gained with some of these measures has promoted new ideas promoting low carbon futures.

The CRed (Community Carbon Reduction) Programme

The CRed (Community Carbon Reduction) Programme was established at the University of East Anglia in 2003.  Its location in East Anglia is no accident as the University already housed the world renowned Climatic Research Unit, which had done much to confirm the existence of global warming, and the Tyndall Centre for Climate Change which is seeking ways to provide long term sustainable responses to climate change. The CRed  programme takes up the challenge of the UK Government that significant progress must be made by the mid 2020s and is attempting to build an enlightened community which will reduce emissions by 60% by 2025 (not the Government target of 2050).   If the programme suceeds then it will point the way whereby others can achieve the target by 2050.   If it fails,  then it will have identified the critical barriers so that these can be tackled in the period between 2025 and 2050.

The CRed  programme approaches the issue of climate change and need for carbon reduction  by promoting low carbon renewable technologies such as solar thermal, wind, and photo-voltaic, but also exploring the potential of biofuels like biodiesel and bioethanol.   Furthermore there are projects within the CRed programme examining sustainable transport issues and the social, economic, and legislative barriers to the development of low energy buldings.  The programme also attempts to provide integrated, "joined-up" solutions to the low carbon future and already a number of novel business opportunities have been identified.   While there are several projects worldwide which are tackling some of these issues,  most only tackle one, or at most two, of the key issues which must be resolved including the phsycial,  technical, economic, political, social, and environmental challenges facing the world as it moves towards a low carbon future.

The CRed programme is somewhat unique in trying to tackle all of the above aspects.  The programme has had some success in political lobbying,  but has recognised that the social dimension is as important as the other aspects, and in many cases more so.  Accordingly much effort is currently being directed towards this particular aspect.   It was recognised that the correct language must be used if the general public are to be engaged in developing a low carbon,  low energy, sustainable community.

The magnitude of the problem is demonstrated by Fig. 1 that the annual emission per person in the UK is 9 tonnes of carbon dioxide as a result of the energy they use.  Few people have any comprehension of what 9 tonnes of the gas would look like in terms of volume, and a suitable visualisation is needed if the magnitude of the problem of global warming now facing the world is to be appreciated.    Such a volume is almost exactly the equivalent of 5 hot air balloons and this has become the unofficial symbol of the CRed project and has been adopted readily by the local media in promoting low carbon strategies.  In simple terms it means that in the UK the 5 hot air balloons must be reduced to 2 whereas in China there could be a per capita rise from the present 1.4  to 2 balloons.   More recently CRed  has realised that a smaller unit is also needed and a typical sized party-sized balloon equates to around 10g of carbon dioxide.

The CRed programme is also successful in conveying other important statistics in a simple way.  For instance a typical small family car which is driven 15000 km in a year (typical distance in the UK)  will emit around 1.2 hot air balloons of carbon dioxide demonstrating the ciritical issue of transport in combatting carbon emissions.   With the correct and comprehensible language challenges can be set to the general public such as:

- Leaving the TV on standby when not viewing can mean that the TV uses more electricity and emits more carbon dioxide when a person is asleep than when actually viewing.  Alternatively,  leaving the standby on causes the unnecessary emission of around 3500 party balloons of carbon dixoide.

- Travelling just 2.5km in a small family car will emit as much carbon dioxide as heating an old person's room for 1 hour in winter.

Once messages such as these become known,  CRed has found that people are willing to sign a pledge to make small changes to their daily lives to reduce carbon dioxide emissions. CRed  has developed a unique pledging system which allows the tracking of how the project is performing (details may be seen on the website:  www.cred-uk.org).

Educating social behaviour is as important as designing low energy buildings and a challenge set by the CRed team was to find out the potential savings that could be made by a concerted effort to switch off unnecessary applainces.   This was aimed for a single day with publicity in the days beforehand as well as on the day itself.   The results from a selected university building are shown in Fig. 2.   While there is an obvious reduction in electricity use during weekends,  there is also a general declinign trend during the month of April progressed as summer approached.   This trend is highligted by the dotted line together with the grey band which shows the standard deviation of the daily readings.   The targetted day was Friday 22nd April 2005,  and there was a dramatic reduction (over 4 standard deviations from the trend line) indicating that this was indeed a real effect.   On the following Monday  there was also a noticeable reduction,  but later that week the reduction was not so marked as people started to slip back into old habits.  The magnitude of the reduction demonstrates the importance of such awareness raising.   The University, together with CRed  are now exploring ways where such savings may be made more permanent.

Fig. 2.   The reduction in electricity demand in a building during a one-day campaign to reduce energy.  Data from CRed (2005).

The CRed programme started at the University of East Anglia and focussed its initial efforts on the city of Norwich, the County of Norfolk, and the East and England Region.   The interest from elsewhere has been such that there is already the nucleus of further CRed  programmes elsewhere in the UK in towns and cities such as Ipswich and Cambridge, and District and County Councils such as West Midlands, Vale of White Horse, Hampshire etc.    The message has also started to become international with developments focussed on the University of North Carolina, in Canada and also in Okinawa in Japan.   More recently, through a Schools link project between the Xuhui District of Shanghai and Norfolk, a derivative of the CRed Project has started in China.

An Iconic Integrated International Exemplar of Low Carbon Practice

While the CRed Programme is being increasingly successful in engagement with the public and business, it is important not to let the momentum slip and to sieze all opportunities to promote low carbon practice.  So frequently, ideas are fragmented and the full potential not realised.  In older societies the production of power and energy was the responsibility of the local community.  Today such provision is often so divorced from society as a whole that the general population do not always appreciate the consequences of their actions.   It is important to provide user friendly educational facilities which can target both children and adults from all nations as it is our common future which can benefit from a concerted effort by all.   Such a facility should be a "must-see" activity for all school children and demonstrate the link between climate energy generation, conversion and use and climate change.

CRed is ideally suited to the promotion of this education at the interface between society and technology and as part of the outreach programme has promoted an iconic, integrated, renewable power station which will not only be the focus for many businesses, but also a research centre and an exhibition and visitor attraction as well as a conference centre.

An exhibition centre and visitor attraction will be sited in proximity to an operating power station and will reinforce the link between climate change and energy providing the opportunity for visitors to become more informed on the difficult choices now facing us.   The initial concept was envisaged for Norwich which is both a historic city and the most easterly city in England.   As such it was promoted as the "Star of the East" and included an architecturally innovative wind turbine with six blades reprsenting the six counties in the East of England, a multi-channel biomass and waste plant and an extensive photovoltaic array.  It is now recognised that such a concept could be ideally placed in many other cities around the world and be a major driving force towards a low carbon future.   Several cities in China  have a key element at the heart of their development plans the importance of renewable energy (e.g. Chongming Island).   Indeed wind and biomass is part of the Master Plan for Expo 2010 in Shanghai.  It is important that the power station is iconic and an archtectural featire in its own right rather than a basic energy generating facility.   Birds-eye views of the scheme in Norwich which has been tailored to the site constraints are shown in Figs. 3 and 4.

Fig. 3.  A bird-eye perspective of the proposed innovative, integrated power station in Norwich viewed from the north-east.  This is illustrative of what might be done elsewhere in China.  The actual shape of the power station has been dictated by the land area available and shown by the dotted line.

The site in Norwich is particularly attractive for such a scheme as it covers 6 hectares and is the site of first a coal fired power station and until 2002 the site of a gas turbine station.  It retains the grid connection and has a gas holder adjacent: transport connections are good with a railway line adjacent with connections to London and the Midlands and in particular through the Thetford Forest, a source of potential forest waste for the power station.   While envisaged that it would provide an integral combined heat and power solution, the proximity of the river provides the opportunity for cooling should that be required.  Furthermore it is less than 1 km for the city centre so that heat from the power station can be readily used for space heating in commercial and other developments nearby.    It is envisaged that other cities, particularly in China will have similar attractive siting possibilities for such a scheme.

The Wind Turbine

The wind turbine (see also Fig. 5) will be around 90 m high and be a visible landmark which would be visible on the approaches by rail, river and road to Norwich and from many area of Norwich itself.   It will be the second highest man made structure in the city being slightly lower than, and complementing, the magnificent gothic cathedral.  While the cathedral was built in the first century of the second millennium and has been a symbol of Norwich ever since, so it is hoped that this project, built in the first century of the third millennium will be a symbol of man’s move to a low carbon future.   With six blades it will not be the most efficient design, but that is not the sole aim of the project.   It is to promote awareness and be symbolic, and the wind turbine does just that.   To emphasise its iconic nature it is intended that the tower will be transparent with the bare minimum of supporting steelwork.   At night time it will appear that a star is floating in the sky.  At the top will be visitors viewing platform which will give an unprecedented view across the countryside.  On clear days the sea, which is less than 30 km distance, will be visible.

Fig. 5   The Wind Turbine provides a focal point to the complex.

The viewing platform will also allow visitor to appreciate the importance that carbon fuels have played in the development of mankind.    Visible will be several stages in man’s exploitation of energy resources:

- The Broads: an area of world renown wetland which were formed in the middle ages as peat was cut to provide fuel -  this can be referred to as the carbon-1 era

- The carbon-2 era, or coal, which was never actually mined in Norfolk,  but large reserves do remain under the landmass and out into the North Sea.

- The gas rigs from the carbon-3 era  (oil rigs in the north sea will not be visible)

- Offshore wind turbines at Scroby Sands which point the way to the future post carbon era.

The turbine is shown as a six bladed machine and a symbol of the 6 counties in the East of England Region, but elsewhere other symbols might be used: for instance it might be appropriate for there to be 5 blades in a scheme built in China.

The Biomass Station

The main design of the power station is intended to be an architectural feature rather than a bulk standard box shape and is consistent with its function as a visitor attraction.  In addition to the wind turbine, the power station would include a large photovoltaic array mounted on the roof of the "Greenhouse of the Future".  The biomass/waste station will be modular in design and allow for new developments in technology and thus be future-proofed..  Being modular may raise the cost slightly, but the flexibility thereby achieved should ensure this is a particularly robust solution for the future.   It is envisaged that one stream of the biomass station might initially be a mass burn incinerator, but with experience the other would incorporate pyrolysis and gasification to provide an efficient conversion of biomass to electricity and heat.  An aim would be to design and operate a power station which could utilise several different biomass fuel sources.  In appropriate locations it is envisaged that waste would be an important fuel source as this would provide an efficient and environmentally sound method for disposal if integrated with pyrolysis and gasification.   The holding area for the fuel stock will be under the building fabric that will be maintained at a small negative pressure to avoid problems with smell etc.

The plan for the biomass/waste section of the power plant must address the issue of waste heat disposal.  There is little problem in winter when district heating is required, but in summer the low demand for space heating can create problems and the intention is to incorporate adsorption chilling to allow tri-generation and use part of the rejected heat.    The waste heat will also be used for space heating the exhibition and adjoining conference facilities in winter and via the adsorption chiller for cooling as required in the summer.

As an alternative to advanced biomass pyrolysis and gasification it is planned that at least one of the processing channels would be used to deal with municipal waste and thereby reduce the need for landfill.  An innovative design of this type has already been demonstrated at the commercial scale in Avonmouth in the UK.   This plant developed by CompactPower (CompactPower, 2005) can deal with all types of non radioactive waste has proved to reliable and is modular and would be an ideal partner in such a project as envisaged in the integrated power station.

Fig. 6  A cross section of the power station and the "Greenhouse of the Future"

The Factories of the Future

The factories of the future are envisaged to be those which will develop as society moves towards a low carbon future.   At an early stage, biodiesel and bioethanol as diesel and petrol substitutes will be included.  Unlike biofuel production elsewhere which requires fossil fuel derived process heat and electricity, it will take advantage of the adjacent renewable power station and thereby minimise the carbon emission associated with the full fuel cycle.  Once the infra structure for bioethanol has been established such a complex would be ideal to explore newer developments including the production of bioethanol from Municipal Waste and in this way not only would reduce an every growing waste problem, but also provide a low carbon solution for transportation.

Greenhouse of the Future

It is envisaged that Greenhouse of the future will be partly devoted to the exhibition area and partly devoted to research to explore how vegetation and crops would respond to changes in climate.   A cross section of this and how it might look partly superimposed on the power station is shown in Fig. 6.  The temperature within the research area will be controlled from the excess heat  (or chilling) from the power station itself.

Low Carbon Futures at the University of East Anglia

The University of East Anglia (UEA) has been proactive in promoting low carbon technical strategies for the last 15 years.   The strategies adopted have included the construction of innovative low energy buildings and the development of integrated fuel efficient strategies for campus energy.   The campus itself has many older energy inefficient buildings built in the 1960s which are now Grade 2 listed and these present a particular challenge to the University.    While this is an important challenge, the current paper focus on the issues surrounding the new buildings and the energy supply.

One of the particularly innovative methods of building construction is the “Termodeck” principle which incorporates a highly effective regenerative heat exchanger which is 87% efficient in recovering heat from the mechanical ventilation system.  Four buildings have so far been built using this system with a fifth to follow shortly, and these give the UEA Campus the highest concentration of such energy efficient buildings in a temperate climate. The construction uses lightweight hollow slabs for the floor through which both incoming and exhaust air can circulate.  The principle of operation is summarised in Fig. 7.

Fig. 7.  Schematic diagram showing the principle of the "Termodeck" construction which results in a particularly low energy design.

Incoming air is first heated in the two channel regenerative heat exchanger before passing through a filter and a heater bank which might be supplied from any suitable source.  The air passes through the hollow core sections and emerges through diffusers.   Stale air from the occupied spaces is captured in separate ducts and taken back to the regenerative heat exchanger where the majority of the residual heat is extracted.   The two channels of the heat exchanger switch over at approximately 90 second intervals to provide a very high heat recovery rate.

The first building of this type on the UEA campus was the Elizabeth Fry Building (Fig.8) which was first occupied in early 1995.   When constructed it was hailed as “the best building yet” by Probe (1998) and, despite costing less than 10% more, achieves an impressive energy performance such that heating for the whole building is supplied by a single domestic heating boiler.  Exhaust air from the rooms collects waste heat from the low energy lighting, and is passed through the ducts to the regenerative heat exchanger.  Even when the outside temperature is as low as 9oC it is rare for any heat to be supplied by the boiler.   The U-values for all these buildings not only exceeded the Building Regulations in force at the time of construction but are likely to exceed them also for several years and probably decades to come.

Since both the warm incoming air and stale air circulates through the building fabric the structure is close to the air temperature and this improves the perception of thermal comfort.   The hollow core structure allows the full impact of the thermal mass of the building to be utilised in stabilising the temperature within the building even with quite large diurnal swings.    In climates where the nights are cool in summer, but the days are hot, the fabric of the building can be pre-cooled over night thereby reducing and in many cases eliminating the demand for space cooling.   In hot climates this can be an important consideration as the peak cooling requirement can be substantially reduced.

The building initially performed well, but by careful fine-tuning over the first two years the space heating requirement was reduced by a further 50% to just 33 kWh/ m2 / yr (Fig. 9) and this was just 20% of the standard for academic buildings (PROBE,  1998).

Fig. 10.  The ZICER building showing the photovoltaic array on the top floor.

An even more innovative building on the campus is the Zuckerman Institute for Connective Environmental Research (ZICER) shown in Fig. 10.   This developed the concept of the Elizabeth Fry Building and included a 34 kW PV array on the façade of the top floor and the roof of the building.  The lower four floors (including the basement) were constructed as a "Termodeck" construction with an exhibition area on the top floor which was designed to demonstrate the use of photo-voltaic cells.  The heating requirement of this building was expected to be around 90% of that of Elizabeth Fry.  The early results of the performance of the new building were not encouraging with heating requirements double that of the Elizabeth Fry building when expressed in terms of heat requirement per unit area.   Careful analysis of the data suggested that a different management regime using control of the temperature of the slabs might be appropriate and this was implemented in the summer of 2004.   The consequence has been a dramatic improvement in performance with the ZICER building substantially outperforming the Elizabeth Fry building for most of the winter (Fig. 11).   This demonstrates that to achieve low energy sustainable buildings requires not only good initial design, but also careful management of heating strategies if the optimum performance is to be achieved.

Fig. 11.   The actual performance of the "Termodeck" section of the ZICER Building compared to the Elizabeth Fry Building.

All the “Termodeck” buildings are well sealed and rely for their performance on good air-tightness.  There is provision for individuals to open the windows, although this facility is seldom used.  However, it is important that such provision is available as acceptability of the working environment will become important as buildings of low energy standards are built.     A survey of user satisfaction in the Elizabeth Fry Building  demonstrated that in all the measured categories the perception of the building was above average as shown in Table 1.

Table 1.    Perception of users of Elizabeth Fry Building

| Criterion | Relative to a standard building |
| --- | --- |
| Thermal comfort | 28% better than average |
| Air quality | 36% better than average |
| Lighting | 25% better than average |
| Noise | 26% better than average |

The low energy demands of the “Termodeck” buildings have been achieved through careful consideration of ventilation heat recovery.  As standards of insulation increase, ventilation becomes an increasingly important part of the total energy requirement.   It is essential that ventilation heat recovery becomes integral in the design of most new buildings.  While natural ventilation can be effective, it should be tested against the option of ventilation heat recovery before being considered as a possible option.

Low Energy Strategies for supplying Heat and Electricity to Campus Buildings

The majority of buildings on campus have heat supplied from a central boiler house.   In the late 1990s the option to install high quality CHP was taken.   Three gas engines provide the motive power for the three 1 MWe generators (Fig. 12).   A total of 4.2 MW of heat is also supplied while supplementary heat in winter is supplied from the existing boilers.  At times the scheme is a net exporter of electricity, but since the introduction of the New Electricity Trading Arrangements (NETA), and their subsequent replacement by the British Electricity Transmission and Trading Arrangements (BETTA) on April 1st 2005,  the financial viability of export has not been as great, particularly since the price of gas as the fuel source has risen so dramatically since mid 2003.  Nevertheless after installation of the CHP units a saved around £400 000 per annum in energy bills compared to an original bill of £1 000 000.   Table 3 shows the proportion of electricity generated by the CHP Units.

Fig. 12.  The CHP units and one of the boilers in the main boiler house.

The electricity generated in schemes such as these are particularly beneficial in promoting low energy communities as the electricity is used locally and avoids the normal losses of electricity associated with transmission.   Tables 4 and 5 show a comparison in the carbon dioxide emissions in the last full year before installation and the first full year after installation.   A reduction in carbon dioxide emissions from 15699 tonnes to 10422 tonnes was achieved - a saving of 33%.

Fig. 13 shows the utilisation of the CHP units over the period from installation in mid February 1999 to 31st July 2005.   The average load factor is 67% but this falls to below 40% during the summer months when there is little demand for heat (Fig. 13).  To improve the utilisation of the CHP units an adsorption heat pump is being installed and is due for commissioning in late September 2005.   This will provide much of the ever increasing demand for cooling by scientific equipment during the summer months and also allow a increased generation of electricity.  It will also decrease the amount of electricity imported for chilling and this represents a "win-win" situation and should allow an increased amount of electricity to be exported.   It is estimated that a further 350 – 400 tonnes of carbon dioxide will be saved by this means.

Table 4.   Energy use and annual CO2 emission at UEA Campus before installation of CHP.

| 1997/98 |  | electricity | gas | oil | total |
| --- | --- | --- | --- | --- | --- |
|  | MWh | 19895 | 35148 | 33 |  |
| emission factor | KWh/kg | 0.46 | 0.186 | 0.277 |  |
| carbon dioxide | Tonnes | 9152 | 6538 | 9 | 15699 |

Table 5.   Comparable data for first complete year after installation of CHP

|  |  | Electricity | Heat |  |
| --- | --- | --- | --- | --- |
| 1999/ 2000 |  | total site | CHP generation | export | import | boilers | CHP | oil | total |
|  | MWh | 20437 | 15630 | 977 | 5783 | 14510 | 28263 | 923 |  |
| emission factor | kWh/kg |  |  | -0.46 | 0.46 | 0.186 | 0.186 | 0.277 |  |
| carbon dioxide | tonnes |  |  | -449 | 2660 | 2699 | 5257 | 256 | 10422 |

Fig. 13.   Variation in load factor for electricity generation by the CHP units.  The graph demonstrates the under utilisation of units in summer because there is limited demand for heat.

In addition to the adsorption chilling, the University is planning to start a feasibility study into the installation of a biomass CHP unit in late 2005.   This unit will be larger than the existing units at 1.4 MW electrical and 2 MW heat.   Biomass may be considered to be carbon neutral if it comes from sustainable growth.  However, the growing, harvesting and transportation of such biomass will entail energy use, much of which will be as fossil fuel, and so there will still be some emissions of green house gases even though on a lower scale than normal fossil fuels.  Initial estimates of such a scheme suggest that a further saving in carbon dioxide emissions of 3500 – 5000 tonnes per annum is possible.

Conclusions

Sustainable low energy communities will be most successful if a multi-pronged approach is adopted.  While innovative new low energy design is a necessary first step, engagement with the local communities is equally important.  The Community Carbon Reduction Programme (CRed) has identified several important issues which are needed ensure the most successful outcome to low carbon strategies.  These include the following points.

- Effective innovation should be at the heart of all new sustainable development and building design.  However it is important recognised that ventilation issues are becoming increasing important as tighter fabric regulations are adopted.

- Highly efficient heat recovery is possible using regenerative heat exchangers.

- Low energy design is not enough by itself, it is possible to improve on actual performance by careful monitoring and analysis of the energy profile over the first 12 – 24 months and adapting the energy management strategy accordingly.

- Tri-generation incorporating CHP and adsorption chilling should become an integral part of energy supply to many building complexes – significant savings in carbon dioxide emissions are possible.

- Legislation such as that currently in force in the UK relating to the supply and distribution of electricity can be counter productive to an effective promotion of low energy strategies.

- Appropriate education campaigns can lead to substantial savings in energy even in existing buildings,  but thought is needed to ensure gains are not lost through subsequent back-sliding.

- There is the need to engage with the general public in a manner similar to that now adopted by CRed in and increasing number of places around the world.  To do this requires careful thought on the units to be used.   The CRed programme has found that using volumes equivalent to every day items is often a compelling way to engage people.   This engagement can be backed up with a Pledge scheme similar to the CRed Pledge system which individuals and corporations are now adopting in increasing numbers.

- An iconic integral renewable energy power station combined with exhibition, educational, and conference facilities would be an excellent way to further engage the public.

Acknowledgements

The author wishes to thank Charlotte Turner, a Post Graduate student in Environmental Sciences at the University of East Anglia, and Mel Pascoe, the Energy Manager at the University of East Anglia for providing data presented in this paper.

References

CompactPower (2005).  Compact Power Web Site;  www.compactpower.co.uk

DTI (2005). Energy - Its impact on the environment and society. DTI publications, Orderline, Admail 528, London, SW1W 8YT.  (also available at www.dti.gov.uk/energy/environment/energy_impact/).

Probe  (1998).   The Best Building Yet?.   Probe 14: report,  Building Services Journal

RCEP (2000). Energy - The Changing Climate.  The Royal Commission on Environmental Pollution's  22nd REPORT:  The Stationery Office, PO Box 29, Norwich NR3 1GN,  UK

(also available on WEB at  http://www.rcep.org.uk/energy.htm)

UK Government (2003a). The U.K. Government Response to the Royal Commission on Environmental Pollution ’s Twenty-Second Report:  Energy —The Changing Climate.  CM 5766. The Stationery Office ,St Clements House,2-16 Colegate, Norwich NR3 1BQ.

(also available at   www.defra.gov.uk/environment/rcep/pdf/rcep22_response.pdf)

UK Government (2003b): The Energy White Paper: Our Energy Future – Creating a Low Carbon Economy.  The Stationery Office, PO Box 20, Norwich NR3 1GN, UK 142 pp.

(also available on WEB at www.dti.gov.uk/energy/whitepaper/index.shtml)

# Text boxes

Table 3.   Electricity generated on campus,  total demand and percentage supplied by CHP

|  | CHP generated | Total Demand | Percent supplied |
| --- | --- | --- | --- |
|  | MWh | MWh |  |
| 1999 | 16753 | 20432 | 82.0% |
| 2000 | 15301 | 21410 | 71.5% |
| 2001 | 18440 | 24756 | 74.5% |
| 2002 | 15644 | 25611 | 61.1% |
| 2003 | 15655 | 26277 | 59.6% |
| 2004 | 17567 | 26961 | 65.2% |
| 2005 | 01/01/2005 to 31/07/2005 |
|  | 11198 | 16422 | 68.2% |

Notes:

- values for 2000 were affected by a major overhaul of units

- after 2001 financial viability for export was affected by NETA.

CHP Units

Heating             Hot Water         Electricity

Fig. 9.  Performance of Elizabeth Fry Building.

Fig. 8.  The Elizabeth Fry Building completed in 1995.

Fig. 4.   View of the site from the south west.

Target Day

Iconic Wind Turbine

Green house of the future and exhibition area.

Power Station

Railway lines to Norwich Station

Factories of the future.

Green house of the future and exhibition area.

Power Station

Exhaust Air

from rooms

Filter

Exhaust Air

Incoming Air

Floor Slabs

Two channel regenerative heat exchanger

Supply duct to hollow core slabs

Diffuser

Heater