ENV-2E02 Energy Resources 2005

Lecture Handout 3

Section 8:   Thermodynamics

Section 9:  Nuclear Power

Section 10:  Nuclear Reactors

Section 11:  Nuclear Fuel Cycle

- the waste disposal aspects of thsis topic will be covered more fully

by Alan Kendall in Week 10

Section 12:  Nuclear Fusion

Section 13:  Introduction to Hazards of  Radiation

additional aspects to be covered separately by Alan Kendall

8   THERMODYNAMICS:

8.1  SUMMARY of  KEY POINTS from ENV-2A14:

1:   FIRST  LAW  equates the algebraic sum of the work done by a system to the algebraic sum of the heat transfers to/from the system.

Heat into system is "positive":

Heat rejected is "negative"

Work done BY system is "positive":

Work done on system is "negative"

i.e..  W1   +    W2   + .......    =      Q1    +      Q2    +     .........

In a typical system     W     =   Q1    -      Q2

2:  SECOND LAW is more restrictive than the FIRST LAW and states that when WORK is obtained from heat, the conversion process must ALWAYS reject heat.  This limits the theoretical (or CARNOT) efficiency.

work out

3)   Efficiency is  defined as  -------------------------  x 100

heat in

Since heat flow is proportional to temperature we can replace  heat flows by temperature.

T1       -        T2

i.e.   (   =       ---------------------------  x  100

T1

This the theoretical or Carnot efficiency.

4)  Practically,  the efficiency will always be less than the Carnot Efficiency.  To obtain the "real"  efficiency we define the term  Isentropic Efficiency as follows:-

actual work out

(isen    =       ----------------------------------------

work output from Carnot Cycle

Thus "real"  efficiency    =   (carnot    x    (isen

5) A power station involves several energy conversions.   The  overall efficiency is obtained from the product of the efficiencies of the respective stages.

EXAMPLE:

Thus in a coal fired power station like DRAX,  the steam inlet temperature is 566oC and the exhaust temperature to the condenser is around 30oC.   The combustion efficiency is around 90%, while the generator efficiency is 95% and the isentropic efficiency is 75%.  If 6% of the electricity generated is used on the station itself,  and transmission losses amount to 5% and the primary energy ratio is 1.02,  how much primary energy must be extracted to deliver 1 unit of electricity to the consumer?

(566 + 273) - (30 + 273)

Carnot efficiency   =    ------------------------------  =   63.9%

566 + 273

so overall efficiency in power station:-

=    0.9   x     0.639    x   0.75     x 0.95     x 0.94   =   0.385

|                |                |              |              |

combustion   carnot  isentropic   generator   station loss

allowing for transmission losses and the primary energy ratio,

1 unit of primary energy will produce:-

1   x   0.385   x   0.95

---------------------------   = 0.359   units of delivered energy

1.02

i.e.   1 / 0.359   =  2.79  units of primary energy are needed to deliver 1 unit of electricity.

8.2   Properties of Steam (See Fig. 8.1)

When water is heated at a constant rate it temperature will rise in an ever increasing manner until boiling starts.  Then while any of the water remains liquid, a phase change takes place at constant temperature.   Thereafter the temperature starts to rise rapidly again.   In this last region the steam becomes superheated.

If the experiment is repeated at a higher pressure,  the onset of  boiling will occur at a higher temperature and time,  and  the end of boiling will usually occur in less time than at 1 bar.  That means that the time for boiling reduces as the pressure increases.

If the pressure is increased further then a higher boiling temperature will be detected while the time during the boiling phases is reduced further.

Fig. 8.1   Heating water/steam.    Heating is done at a constant rate in all cases.   The horizontal portions of the curves represent boiling or condensing.  The shape of these temperature time curves is the same as the temperature entropy curves.

A line can be drawn through all point coinciding with the onset of boiling,  and a second one at the end of boiling.  These two lines form an arch which join  at the top.  This critical point  (as it is called) coincided with a temperature of 373 oC and 273 bar pressure for water.   Thus for water at 273 bar pressure,  the water will increase in temperature consistently, and then suddenly when it reaches the critical point it will change directly into  steam WITHOUT BOILING.

ENTROPY is a measure of irreversibility in a system.  For a perfect machine,  then energy transfer will be without change in entropy or ISENTROPIC.  Practical machines will always have some inefficiency and the entropy will rise during energy transfers which do not involve HEAT (i.e. expansion through a turbine).

On the other hand the entropy of a system can change during heat transfer.  Ideally for the best heat engines,  heat will be transferred to the system at constant temperature and also rejected at constant temperature.  The boiling process is a constant temperature heat transfer system and we should thus aim to use such systems whenever possible to transfer heat.

Just as the work done by a piston on a gas is

pressure      x   change in volume

so the heat transfer in a constant temperature process will be

temperature   x   change in entropy

Fig.   8.2   Work done by a piston

8.3 Power Cycles used in conventional Steam Power Stations:

8.3.1    Ideal Cycle: - Carnot Cycle.

Fig. 8.3  Carnot Cycle

Theoretical Performance

pressure         temperature

H.P inlet                        2.75 MPa           502.4K

L.P. outlet                                -               299.6K

T1 - T2          502.4  -  299.6

(     =    -----------  =  ----------------------  = 40.3%

T1                     502.4

But practically, isentropic  (isen = 80%, and work out is reduced by 20%, and work into compressor is increased by above 20%.

so practical efficiency   =   40.3 x 0.8       ~   27%.

[specific steam consumption (ssc) ideal 1.36kg of steam per MJ work]

[specific steam consumption (ssc) practical 2.04kg of steam per MJ work]

Problems with Carnot Cycle

- It is difficult to stop condensation at A (tendancy to go to B).

- Nearly impossible to adequately compress water/steam mixture.

- Large drop in effective efficiency due to technical inefficiencies.

8.3.2 Rankine Cycle (basic form):

This is a straightforward modification of the Carnot Cycle so that condensation continues to B.

Fig. 8.4  Rankine Cycle

With temperature and pressure the same as for the Carnot cycle,

(ideal = 35.0%

but when inefficiencies are taken into account

(practical = 28.0%

i.e., the practical efficiency is greater than the practical efficiency of the carnot cycle since there is minimal increase in work in to feed pump as it is nearly zero anyway.

[ssc (ideal)   1.06 kg MJ-1]:    [ssc (practical)      1.31 kg MJ-1]

Advantages

1)   Much lower drop arising from inefficiencies.

2)   Amount of steam circulating is less (because more energy is extracted per kg) hence smaller diameter pipes.

Disadvantage

Heat in is not all at top temperate, and hence irreversible.

8.3.3 Rankine Cycle with Superheat

Fig. 8.5 Rankine Cycle with Superheat

.Advantages

- Mean temperature at which heat is taken in is increased, and hence efficiency is increased   (over Rankine).

- Lower steam consumption and hence smaller pipes.

8.3.4   Rankine Cycle with Superheat and Reheat

Reheat temperatures = 700K, other conditions as in previous example.

Fig. 8.6  Rankine Cycle with  Superheat and Reheat

8.3.5 Rankine Cycle with Superheater and Bleed Heating

Fig. 8.7 Rankine Cycle with Super Heating and Bleed Heating

1)   Marked improvement in efficiency - nearly as high as Carnot efficiency.

2)   Bleed heating reduces temperature difference during heating.

Disadvantages

Increase in specific steam consumption over previous case.  This means that pipe diameters etc. must be larger,  and the number of feed water heaters used depends on economics.  Thus only the largest power stations tend to have large numbers of such heaters.

8.4  Use of Low Temperature GEOTHERMAL energy  to improve efficiency

A particularly effective way of using low temperature GEOTHERMAL energy which might otherwise be difficult to use, is to  replace the bleeding pipes and use the geothermal energy to heat the feed water heaters.  This noticeably improves the efficiency, but does not have the penalty of the increased steam consumption of the above example.

8.5  SUMMARY POINTS

a)	 Theoretically a power station operating as a carnot cycle will be the most efficient as all the heat is supplied or rejected at constant temperature,  and also the work inputs and outputs are reversible and thus are isentropic  (i.e. there is no change in entropy during the work input and output).  However, it is practically impossible to achieve such an ideal situation, and the Rankine Cycle (while being less efficient theoretically can achieve greater practical efficiencies).

b)	 Water has a critical temperature of 373oC at a pressure of 273 atmospheres.  At that point the properties of water and steam become indistinguishable and water changes into steam without boiling.

c)	 For optimum efficiency,  as much of the transfer of heat should  be done at a constant temperature (i.e. through boiling).   Because of the limitations in (6),  this limits the top temperature in steam driven stations and hence their ultimate efficiency.  While some experiments have been done with stations operating in the super-critical region,  they are not that reliable  (Drakelow "C").

d)	 Superheating the steam  does increase the efficiency as part of the heat transfer is at a higher temperature.  This has the advantage also of reducing the amount of steam circulating  (as the area enclosed in the Temperature - entropy      i.e.  T - s chart) is larger.  The steam also become drier and causes less problems with corrosion on the turbine blades.

e)	Most power stations expand part of the steam through a high pressure turbine and then return the steam for reheating (albeit at lower pressure).   This further improves efficiency.

f)	 NOTE:   the AGR nuclear reactors do have reheating,  but   the PWRs do not.  Thus the  AGR reactors are significantly more efficient than the PWRs.

h)	One problem with all the above solutions to improve  efficiency is that large quantities of heat are transferred to the steam at temperatures other than optimum.  One way to improve this is to bleed of part of the steam from the turbines to pre-heat the water.  While is markedly improves the efficiency,  it does cause the steam consumption to rise,  and hence much larger pipes are need.  Most stations have some bleed-heating stages,  but it is only in the largest units is it possible to technically or economically have the large number of bleed-heating stages needed for optimum efficiency.

- The T - s diagram below shows that for a carnot cycle operating at a higher top temperature,  the area enclosed by the rectangle is smaller,  and hence although the efficiency is higher,  the amount work output from 1 kg of steam is less, and large volumes of steam must be circulated to compensate.  For this reason, and that mentioned in (8) above,  the ultimate efficiency of steam stations is severely limited.

j)	A carnot cycle operating between a top temperature of Ta, and T2 is more efficient than one operating between Tb  and T2.  However, the amount of steam which must circulate in the case with Ta is larger because the work done per kilogram of steam is smaller  as the area of rectangle ABCD is smaller than that of abcd.

8.6	COMBINED CYCLE GAS TURBINE STATION

A  combined cycle gas turbine station overcomes the problem in steam stations that the temperature cannot be raised too high because of the properties of water/steam.  Instead gas is compressed and burnt at a significantly increased temperature in a gas turbine, which by itself is not that efficient.  However, by using the waste gases to raise steam (replacing the conventional boiler),  the overall efficiency is greatly improved.

EXAMPLE:-

Gas turbine inlet and outlet temperatures  are  950oC ( =  1223K) and  550oC

(  =   823K) respectively.  Corresponding steam temperatures are 500oC

( =   773K)  and  30oC  (  =   303K) respectively.

also efficiency of waste heat boiler is 80%,  and isentropic efficiency of gas turbine is 70% and that of the steam turbine is 80% (all other efficiencies are as in previous example).   What is overall efficiency of station?

FIRST the efficiency of gas turbine is

(1223-823)/1223 x 0.8  = 23%

===

1 unit of fuel produces 0.23 units of work and this gives    0.23  x 0.95   =  0.22 units of electricity  (0.01 units are lost)  and  0.77 units into waste heat boiler.

The waste heat boiler then provides  0.77 x 0.8    =   0.62 units of energy to steam turbine, and 0.15 units are lost to the flue.

The overall efficiency of the steam turbine is  (773-303)/773 =   61%

so allowing for isentropic efficiency,  0.62  x 0.61  x 0.8  = 0.30 units of work are provided which in turn generates 0.95 * 0.3  = 0.28 units of electricity, while 0.02 units are lost from the generator.

Finally,  0.32 units are rejected to the condenser (i.e. the difference between the energy into the steam turbine and the work out from it).

So total electricity generated is 0.22  + 0.28  =  0.50 units.  but 6% of electricity is used on station itself,  so overall efficiency:-

=     0.50    x 0.94     =     47%

=====

9.  NUCLEAR POWER

9.1  NATURE OF RADIOACTIVITY - Structure of Atoms.

Matter is composed of atoms which consist primarily of a nucleus of positively charged PROTONS and (electrically neutral) NEUTRONS.  This nucleus is surrounded by a cloud of negatively charged ELECTRONS which balance the charge from the PROTONS.

PROTONS and NEUTRONS have approximately the same mass, but ELECTRONS are about 0.0005 times the mass of the PROTON.

A NUCLEON refers to either a PROTON or a NEUTRON

Different elements are characterised by the number of PROTONS present thus the HYDROGEN nucleus has 1 PROTON while OXYGEN has 8 PROTONS  and URANIUM has 92.  The number of PROTONS is known as the ATOMIC NUMBER (Z), while N denotes the number of NEUTRONS.

The number of neutrons present in any element varies.  Thus it is possible to have a number of ISOTOPES of the same element.  Thus there are 3 isotopes of hydrogen all of which have 1 PROTON:-

- HYDROGEN itself with NO NEUTRONS

- DEUTERIUM (heavy hydrogen) with 1 NEUTRON

- TRITIUM with 2 NEUTRONS.

Of these only TRITIUM is radioactive.

UNSTABLE or radioactive isotopes arises if the Z differs significantly from N.  For the heavy elements e.g. Z > 82, most nuclei become unstable and will decay by the emission of various particles or radiation into a more stable nucleus.

Fig. 9.1   Energy Binding Curve

1)	The energy released per fusion reaction is much greater than the corresponding fission reaction.

- In fission there is no single fission product but a broad range as  indicated.

9.2 NATURE OF RADIOACTIVITY - Radioactive emissions.

There are FOUR types of radiation to consider:-

1)  ALPHA particles - large particles consisting of 2 PROTONS and 2 NEUTRONS

i.e. the nucleus of a HELIUM atom.

2)  BETA particles which are ELECTRONS

3)  GAMMA - RAYS.  These arise when the kinetic energy of Alpha and Beta particles is lost passing through the electron clouds of other atoms.  Some of this energy may be used to break chemical bonds while some is converted into GAMMA -RAYS which are similar to X -RAYS, but are usually of a shorter wavelength.

4)  X - RAYS.  Alpha and Beta particles, and also gamma-rays may temporarily dislodge ELECTRONS from their normal orbits.  As the electrons jump back they emit X-Rays which are characteristic of the element which has been excited.

UNSTABLE nuclei emit Alpha or Beta particles in an attempt to become more stable.  When an ALPHA particle is emitted, the new element will have an ATOMIC NUMBER two less than the original.  While if an ELECTRON is emitted as a result of a NEUTRON transmuting into a PROTON, an isotope of the element ONE HIGHER in the PERIODIC TABLE will result.  Thus 235U consisting of 92 PROTONS and 143 NEUTRONS is one of SIX isotopes of URANIUM decays as follows:-

alpha               beta                 alpha

235U ------> 231Th ------->  231Pa  -------> 227Ac

URANIUM     THORIUM      PROTACTINIUM      ACTINIUM

Thereafter the ACTINIUM - 227 decays by further alpha and beta particle emissions to LEAD - 207 (207Pb) which is stable.

Similarly two other naturally occurring radioactive decay series exist.  One beginning with 238U, and the other with 232Th. Both of these series also decay to stable (but different) isotopes of LEAD.

9.3 HALF LIFE.

Time taken for half the remaining atoms of an element to undergo their first decay e.g.:-

238U     4.5 billion years

235U     0.7 billion years

232Th    14   billion years

All of the daughter products in the respective decay series have much shorter half - lives some as short as 10-7 seconds.

When 10 half-lives have expired, the remaining number of atoms is less than 0.1% of the original.

9.3 FISSION

Some very heavy UNSTABLE elements exhibit FISSION where the nucleus breaks down into two or three fragments accompanied by a few free neutrons and the release of very large quantities of energy.  Other elements may be induced to FISSION by the capture of a neutron. The fragments from the fission process usually have an atomic mass number (i.e. N+Z) close to that of iron.

Elements which undergo FISSION following capture of a neutron such as URANIUM - 235 are known as FISSILE.

Diagrams of Atomic Mass Number against binding energy per NUCLEON show a minimum at about IRON - 56 and it is possible to estimate the energy released during FISSION from the difference in the specific binding energy between say URANIUM - 235 and its FISSION PRODUCTS.

All Nuclear Power Plants currently exploit FISSION reactions, and the FISSION of 1 kg of URANIUM produces as much energy as burning 3000 tonnes of coal.

[The original atomic weapons were Fission devices with the Hiroshima device being a 235U device and the Nagasaki bomb being a 239Pu device.]

9.4 FUSION

If two light elements e.g. DEUTERIUM and TRITIUM can be made to fuse together then even greater quantities of energy per nucleon are released (see diagram).

The sun's energy is derived from FUSION reactions, and despite extensive research no FUSION reactor has yet been a net producer of power in a commercial sense.  Vast quantities of energy are needed to initiate fusion.  10 years ago,  the input energy was around 10 000 times that output.  Recent developments at the JET facility in Oxfordshire have achieved the break even point.

[The current generation of nuclear weapons are FUSION devices.]

CHAIN REACTIONS

FISSION of URANIUM - 235 yields 2 - 3 free neutrons.  If exactly ONE of these triggers a further FISSION, then a chain reaction occurs, and contiguous power can be generated.  UNLESS DESIGNED CAREFULLY, THE FREE NEUTRONS WILL BE LOST AND THE CHAIN REACTION WILL STOP.

IF MORE THAN ONE NEUTRON CREATES A NEW FISSION THE REACTION WOULD BE SUPER-CRITICAL (or in layman's terms a bomb would have been created).

IT IS VERY DIFFICULT TO SUSTAIN A CHAIN REACTION, AND TO CREATE A BOMB, THE URANIUM - 235 MUST BE HIGHLY ENRICHED > 93%, AND BE  LARGER  THAN A CRITICAL SIZE OTHERWISE NEUTRONS ARE  LOST.

ATOMIC BOMBS ARE MADE BY USING A CONVENTIONAL EXPLOSIVE TO BRING TWO SUB-CRITICAL MASSES OF A FISSILE MATERIAL TOGETHER FOR SUFFICIENT TIME FOR A SUPER CRITICAL REACTION TO TAKE PLACE.

NUCLEAR POWER PLANTS CANNOT EXPLODE LIKE AN ATOMIC BOMB.

9.5 FERTILE MATERIALS

Some elements like URANIUM - 238 are not FISSILE, but can transmute as follows:-

beta              beta

238U + n ---->  239U    ---->  239Np   ---->  239Pu

Uranium         Uranium           Neptunium       Plutonium

- 238              - 239                     - 239                    - 239

The last of these PLUTONIUM - 239 is FISSILE and may be used in place of URANIUM - 235.

Materials which can be converted into FISSILE materials are FERTILE.  URANIUM - 238 is such a material as is THORIUM - 232 which can be transmuted into URANIUM - 233 which is FISSILE. FISSION REACTORS.  Naturally occurring URANIUM consists of 99.3% 238U which is FERTILE and NOT FISSILE, and 0.7% of 235U which is FISSILE.  Normal reactors primarily use the FISSILE properties of 235U.

In natural form, URANIUM CANNOT sustain a chain reaction as the free neutrons are travelling at too high a speed to successfully cause another FISSION, or are lost to the surrounds.  This is why it is impossible to construct an atomic bomb from natural uranium.

MODERATORS are thus needed to slow down/and or reflect the neutrons.

10.  FISSION REACTORS

10.1  NORMAL FISSION REACTORS THUS CONSIST OF:-

i)      a FISSILE component in the fuel

ii)      a MODERATOR

iii)      a COOLANT to take the heat to its point of use.

Some reactors use unenriched URANIUM - i.e. the 235U remains at 0.7% - e.g. MAGNOX and CANDU reactors, others use slightly enriched URANIUM - e.g. AGR, SGHWR (about 2.5 - 2.7%), PWR and BWR (about 3.5%), while some experimental reactors - e.g. HTRs use highly enriched URANIUM (>90%).

The nuclear reactor replaces the boiler in a conventional power station and raises steam which is passed to a steam turbine.  Most the plant is identical to a conventional power station consisting of large turbines,  often incorporating superheating and reheating facilities,  large condensers, huge cooling water pumps,  and a set of auxiliary gas turbines for frequency control and emergency use.  The land area covered by a nuclear power plant is much smaller than that for an equivalent coal fired plant for two reasons:-

1)  There is no need for the extensive coal handling plant.

2)  In the UK,  all the nuclear power stations are sited on the cost (except Trawsfynydd which is situated beside a lake),  and there is thus no need for cooling towers.

In most reactors there are three fluid circuits:-

1)  The reactor coolant circuit

2)  The steam cycle

3)  The cooling water cycle.

The cooling water is passed through the station at a rate of tens of millions of litres of water and hour,  and the outlet temperature is raised by around 10oC.

In 1987 there were a total of 374 reactors world-wide in operation having a combined output of nearly 250 GW.  A further 157 reactors were then under construction with a combined output of 142 GW.

i.e. the total output of about 400 GW is about 8 times the total UK generating capacity.

10.2  REACTOR TYPES - summary

MAGNOX - Original British Design named after the magnesium alloy used as fuel cladding.  Four reactors of this type were built in France, One in each of Italy, Spain and Japan.  32 units are in use in UK.

AGR 	  -     ADVANCED GAS COOLED REACTOR    - solely British design.  14 units are in use.   The original Windscale AGR is now being decommissioned.   The last two stations Heysham II and Torness (both with two reactors),  were constructed to time and  have operated to expectations.

SGHWR -    STEAM GENERATING HEAVY WATER REACTOR - originally a British Design which is a hybrid between the CANDU and BWR reactors.  One experimental unit at Winfrith, Dorset.  Tony Benn ruled in favour of AGR for Heysham II and Torness in last Labour Government. Recently JAPAN has been experimenting with a such a reactor known as an ATR or Advanced Thermal Reactor.

PWR   -       Originally an American design of PRESSURISED WATER REACTOR (also known as a Light Water Reactor LWR).  Now most common reactor.-

BWR    -          BOILING WATER REACTOR - a derivative of the PWR in which the coolant is allowed to boil in the reactor itself.  Second most common reactor in use:-

RMBK   -       LIGHT WATER GRAPHITE MODERATING REACTOR -  a design unique to the USSR which figured in the CHERNOBYL incident.  28 units  including Chernobyl were operating on Jan 1st 1986 with a further 7 under construction.

CANDU  -     A reactor named initially after CANadian DeUterium moderated reactor (hence CANDU),     alternatively known as PHWR (pressurised   heavy water reactor). 24 in use in CANADA, INDIA, ARGENTINA, S. KOREA, PAKISTAN and ROMANIA, with 14 further units under construction in the above countries.

HTGR   -         HIGH TEMPERATURE GRAPHITE REACTOR - an experimental reactor.  The original  HTR in the UK started decommissioning in  1975, while West Germany (2), and the USA (1) have operational units.  None are under construction.

FBR    -            FAST BREEDER REACTOR - unlike all previous reactors, this reactor 'breeds' PLUTONIUM from FERTILE 238U to operate, and in so doing extends resource base of URANIUM over 50 times.  Mostly experimental at moment with FRANCE, W. GERMANY and UK each having 1 unit, and the USSR having 3.  France is building a commercial reactor, and JAPAN and W. Germany experimental ones

| Country | Number of Reactors | Types | % electricity derived from nuclear power |
| --- | --- | --- | --- |
| Argentina | 2 | CANDU | 14 |
| Belgium | 7 | PWR | 56 |
| Brazil | 1 | PWR | <1 |
| Bulgaria | 6 | WWER | 46 |
| Canada | 22 | CANDU | 19 |
| China | 3 | PWR | 1 |
| Czech Republic | 4 | WWER | 28 |
| Finland | 4 | PWR | 30 |
| France | 56 | PWR | 75 |
| Germany | 21 | PWR/HTGR | 29 |
| Hungary | 4 | WWER | 44 |
| India | 9 | CANDU/PWR? | 1 |
| Japan | 49 | PWR | 31 |
| Kazakstan | 1 | RBMK | <1 |
| Korea | 10 | PWR | 35 |
| Lithuania | 2 | RBMK | 76 |
| Mexico | 2 | PWR | 3 |
| Netherlands | 2 | PWR | 5 |
| Pakistan | 1 | CANDU | 1 |
| Russia | 29 | RBMK/WWER | 11 |
| Slovakia | 4 | ? | 49 |
| Slovenia | 1 | ? | 38 |
| South Africa | 2 | PWR | 6 |
| Spain | 9 | PWR/BWR | 35 |
| Sweden | 12 | PWR/BWR | 51 |
| Taiwan | 6 | PWR/BWR | 32 |
| Ukraine | 15 | RBMK | 34 |
| UK | 33 | Magnox/AGR/ PWR | 25 |
| USA | 109 | PWR/HTGR | 22 |

10.3.1  MAGNOX REACTORS.

FUEL TYPE             - unenriched URANIUM METAL

clad in Magnesium alloy

MODERATOR       - GRAPHITE

COOLANT               - CARBON DIOXIDE

DIRECT RANKINE CYCLE  - no superheat or reheat  efficiency

varies from 20% to 28% depending on reactor

ADVANTAGES:-

LOW POWER DENSITY -  1 MW/m3.  Thus very slow rise in temperature in fault conditions.

UNENRICHED FUEL - no energy used in enrichment.

GASEOUS COOLANT - thus under lower pressure than       water reactors (28 - 40 bar cf 160 bar for PWRs).  Slow drop in pressure in major fault conditions - thus cooling not impaired significantly. Emergency circulation at ATMOSPHERIC PRESSURE would suffice.

ON LOAD REFUELLING

MINIMAL CONTAMINATION FROM BURST FUEL CANS - as defective units can be removed without shutting down reactor.

VERTICAL CONTROL RODS which can fall by gravity      in case of emergency.

DISADVANTAGES:-

CANNOT LOAD FOLLOW - Xe poisoning prevents            increasing load after a reduction without shutting reactor down to allow poisons to decay sufficiently.

OPERATING TEMPERATURE LIMITED TO ABOUT 250oC - in early reactors and about 360oC in later designs thus limiting CARNOT EFFICIENCY to about 40 - 50%, and practical efficiency to about 28-30%.

LOW BURN-UP - (about 400 TJ per tonne) thus requiring frequent fuel replacement, and reprocessing for effective URANIUM use.

EXTERNAL BOILERS ON EARLY DESIGNS make them more vulnerable to damage. LATER designs have integral boilers within thick pre-stressed concrete biological shield (see also AGRs).

Fig.  10.1  Schematic section of an early Magnox Reactor.  Later versions had a pressurised concrete vessel which also enclosed the boilers as with the AGRs.   This reactor was developed in the UK and France.  The 2 French reactors have since been closed as have the reactors at Berkley and Trawsfynydd in the UK.

Fig. 10.2  Section of an Advanced Gas Cooled Reactor.   This  reactor was only developed in the UK.   There are currently 14 such reactors in 7 stations in the UK.

10.3.2 AGR REACTORS.

FUEL TYPE             - enriched URANIUM OXIDE - 2.3% clad in stainless steel

MODERATOR       - GRAPHITE

COOLANT               - CARBON DIOXIDE

SUPERHEATED RANKINE   CYCLE (with reheat)  - efficiency 39 - 30%

ADVANTAGES:-

MODEST POWER DENSITY -  5 MW/m3.  Thus slow rise in temperature in fault conditions.

GASEOUS COOLANT - thus under lower pressure than water reactors (40 - 45 bar cf 160 bar).  Slow drop in pressure in major fault conditions - thus cooling not impaired significantly. [Emergency circulation at ATMOSPHERIC PRESSURE might suffice.]

ON LOAD REFUELLING - but only operational at part load at present.

MINIMAL CONTAMINATION FROM BURST FUEL CANS - as defective units can be removed without shutting down reactor.

SUPERHEATING AND REHEATING AVAILABLE - thus increasing thermodynamic efficiency well above any other reactor.

VERTICAL CONTROL RODS which can fall by gravity      in case of emergency.

DISADVANTAGES:-

ONLY MODERATE LOAD FOLLOWING CHARACTERISTICS

SOME FUEL ENRICHMENT NEEDED. - 2.3%

OTHER FACTORS:-

MODERATE FUEL BURN-UP  - about 1800TJ/tonne (c.f. 400TJ/tonne for MAGNOX, 2900TJ/tonne for PWR, and 2600TJ/tonne for BWR)

SINGLE PRESSURE VESSEL with pre-stressed concrete walls 6m thick.  Pre-stressing tendons can be replaced if necessary.

10.3.3 CANDU REACTORS.

FUEL TYPE             - unenriched URANIUM OXIDE  clad in Zircaloy

MODERATOR      - HEAVY WATER

COOLANT               - HEAVY WATER

ADVANTAGES:-

MODERATE POWER DENSITY -  11 MW/m3.  Thus fairly slow rise in temperature in fault conditions.

HEAVY WATER COOLANT - low neutron absorber hence no need for enrichment.

ON LOAD REFUELLING - and very efficient indeed permits high load factors.

MINIMAL CONTAMINATION FROM BURST FUEL CANS - as defective units can be removed without shutting down reactor.

NO FUEL ENRICHMENT NEEDED.

is modular in design and can be made to almost any size

DISADVANTAGES:-

POOR LOAD FOLLOWING CHARACTERISTICS

CONTROL RODS ARE HORIZONTAL, and therefore cannot operate by gravity in fault conditions.

MAXIMUM EFFICIENCY about 28%

OTHER FACTORS:-

MODEST FUEL BURN-UP  - about 1000TJ/tonne (c.f. 400TJ/tonne for MAGNOX, 2900TJ/tonne for PWR, and 2600TJ/tonne for BWR)

FACILITIES PROVIDED TO DUMP HEAVY WATER MODERATOR from reactor in fault conditions

MULTIPLE PRESSURE TUBES (stainless steel) instead of one pressure vessel

Fig. 10.3  A section of a CANDU reactor.   This design was developed in Canada, and has the advantage that it is modular and can be built to any size.  The British Steam Generating Heavy Water Reactor (SGHWR) was of similar design except the cooling circuit was ordinary water.  The space surround the fuel elements in the calandria in a SGHWR were still heat water as in the CANDU design.

Fig. 10.4  A section of a PWR.   This shows the safer design having the cold and hot legs entering the reactor vessel at the top.  the reactor at Sizewell has a secondary dome outside the primary containment building.  This is the only one in the world that has a double skin.

10.3.4 PWR REACTORS (WWER are Russian equivalent).

FUEL TYPE             - enriched URANIUM OXIDE - 3 - 4% clad in Zircaloy

MODERATOR       - WATER

COOLANT               - WATER

ADVANTAGES:-

GOOD LOAD FOLLOWING CHARACTERISTICS - claimed for SIZEWELL B. - although most PWR are NOT operated as such.

HIGH FUEL BURN-UP- about 2900 TJ/tonne - VERTICAL CONTROL RODS which can drop by gravity  in fault conditions.

DISADVANTAGES:-

ORDINARY WATER as COOLANT - pressure must be high to prevent boiling (160 bar).  If break occurs then water will flash to steam and cooling will be less effective.

ON LOAD REFUELLING NOT POSSIBLE - reactor must be completely closed down.

SIGNIFICANT CONTAMINATION OF COOLANT CAN ARISE FROM BURST FUEL CANS - as defective units cannot be removed without shutting down reactor.

FUEL ENRICHMENT NEEDED. - 3 - 4%.

MAXIMUM EFFICIENCY ABOUT 31 - 32%

OTHER FACTORS:-

LOSS OF COOLANT also means LOSS OF MODERATOR so reaction ceases - but residual decay heat can be large.

HIGH POWER DENSITY -  100 MW/m3, and therefore compact. HOWEVER temperature could rise very rapidly indeed in fault conditions.  NEEDS Emergency Core Cooling Systems (ECCS) which are ACTIVE SYSTEMS - thus power must be available in fault conditions.

SINGLE STEEL PRESSURE VESSEL 200 mm thick.

10.3.5 BWR REACTORS

FUEL TYPE             - enriched URANIUM OXIDE - 3% clad in Zircaloy about

4% for PWR)

MODERATOR       - WATER

COOLANT               - WATER

ADVANTAGES:-

HIGH FUEL BURN-UP  - about 2600TJ/tonne

STEAM PASSED DIRECTLY TO TURBINE therefore no heat exchangers needed.  BUT SEE DISADVANTAGES.

DISADVANTAGES:-

ORDINARY WATER as COOLANT - but designed to boil therefore pressure about 75 bar

ON LOAD REFUELLING NOT POSSIBLE - reactor must be completely closed down.

SIGNIFICANT CONTAMINATION OF COOLANT CAN ARISE FROM BURST FUEL CANS - as defective units cannot be removed without shutting down reactor.  ALSO IN SUCH CIRCUMSTANCES RADIOACTIVE STEAM WILL PASS DIRECTLY TO TURBINES.

CONTROL RODS MUST BE DRIVEN UPWARDS - SO NEED POWER IN FAULT CONDITIONS.  Provision made to dump water (moderator in such circumstances).

FUEL ENRICHMENT NEEDED. - 3%

MAXIMUM EFFICIENCY ABOUT 31 - 32%

OTHER FACTORS:-

MODERATE LOAD FOLLOWING CHARACTERISTICS?

HIGH POWER DENSITY -  50 - 100 MW/m3.  Therefore compact core, but rapid rise in temperature in fault conditions.  NEEDS Emergency Core Cooling Systems (ECCS) which are ACTIVE SYSTEMS - thus power must be available in fault conditions.

SINGLE STEEL PRESSURE VESSEL 200 mm thick.

10.3.6 RBMK or LWGR REACTORS.

FUEL TYPE             - enriched URANIUM OXIDE - 2% clad in Zircaloy about

4% for PWR)

MODERATOR       - GRAPHITE

COOLANT               - WATER

ADVANTAGES:-

ON LOAD REFUELLING POSSIBLE

VERTICAL CONTROL RODS which can drop by GRAVITY    in fault conditions.

NO THEY CANNOT!!!!

DISADVANTAGES:-

ORDINARY WATER as COOLANT - which can flash to steam in fault conditions thereby further hindering cooling.

POSITIVE VOID COEFFICIENT !!! - positive feed back possible in some fault conditions  all other reactors have negative voids coefficient in all conditions.

if coolant is lost moderator will keep reaction going.

FUEL ENRICHMENT NEEDED. - 2%

primary coolant passed directly to turbines.  This coolant can be slightly radioactive.

MAXIMUM EFFICIENCY ABOUT 30% ??

OTHER FACTORS:-

MODERATE FUEL BURN-UP  - about 1800TJ/tonne

LOAD FOLLOWING CHARACTERISTICS UNKNOWN

POWER DENSITY probably MODERATE?

MULTIPLE STEEL TUBE PRESSURE VESSEL

Fig.  10.5   A Boiling Water Reactor.   Notice that the primary circuit steam is passed directly to the turbines.

Fig. 10.6   The Russian Light Water - Graphite Moderated Reactor.  This reactor was of the type involved in the Chernobyl incident in 1986.

10.3.7 FBR REACTORS

(sometimes also known as LMFBR -   Liquid Metal Fast Breeder Reactor).

FUEL TYPE - depleted URANIUM METAL or URANIUM DIOXIDE in outer regions of core surrounding PLUTONIUM DIOXIDE fuel elements in centre.  All fuel elements clad in Stainless steel.

MODERATOR  - NONE

COOLANT    - LIQUID SODIUM PRIMARY COOLANT.

ADVANTAGES:-

LIQUID METAL COOLANT - at ATMOSPHERIC PRESSURE under normal operation.  Will even cool by natural convection in event of pump failure.     -  BREEDS FISSILE MATERIAL from non-fissile 238U and can thus recover 50+ times as much energy as from a conventional 'THERMAL' nuclear power plant.

HIGH EFFICIENCY (about 40%) and comparable with that of AGRs, and much higher than other reactors.

VERTICAL CONTROL RODS which can fall by gravity in case of emergency.

DISADVANTAGES:-

DEPLETED URANIUM FUEL ELEMENTS MUST BE REPROCESSED to recover PLUTONIUM and hence sustain the breeding of more plutonium for future use.

CURRENT DESIGNS have SECONDARY SODIUM CIRCUIT

heating water and raising steam EXTERNAL to reactor.  If water and sodium mix a significant CHEMICAL explosion may occur which might cause damage to reactor itself.

OTHER FACTORS

VERY HIGH POWER DENSITY -  600 MW/m3. However, rise in temperature in fault conditions is limited by natural circulation of sodium. very slow rise in temperature in fault conditions.

Fig. 10.7  A Fast Breeder Reactor.  This type of reactor has depleted Uranium - 238 in a blanket around the fissile core material (of enriched U-235 or Plutonium).  Fast neutrons can be captured by the fertile U - 238 to produce more Plutonium.  Typically one kilogram of fissile Plutonium could produce as much a 3/4 kg of Plutonium from U-238 and would thus provide enough fuel not only for itself but also 2/3 other reactors.

| REACTOR | COUNTRY of origin | FUEL | Cladding | Moderator | Coolant | BURN-UP (TJ/tonne) | Enrichment | POWER DENSITY MW m-3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| MAGNOX | UK/ FRANCE | Uranium Metal | MAGNOX | graphite | CO2 | 400 | natural enrichment (0.7%) | 1 |
| AGR | UK | Uranium Oxide | Stainless Steel | graphite | CO2 | 1800 | 2.5-2.7% | 4.5 |
| SGHWR | UK | Uranium Oxide | Zirconium | Heavy Water | H2O | 1800 | 2.5-3.0% | 11 |
| PWR | USA | Uranium Oxide | Zircaloy | H2O | H2O | 2900 | 3.5-4.0% | 100 |
| BWR | USA | Uranium Oxide | Zircaloy | H2O | H20 (water/steam) | 2600 | 3% | 50 |
| CANDU | CANADA | Uranium Oxide | Zircaloy | Heavy Water | Heavy Water | 1000 | natural enrichment (0.7%) | 16 |
| RMBK | USSR | Uranium Oxide | Zirconium/ Niobium | graphite | H2O | 1800 | 1.8% | 2 |
| HTGR | several | Uranium Carbide | Silicon Carbide | graphite | Helium | 8600 | 93% | 6 |
| FBR | several | depleted Uranium metal or oxide surrounding inner area of plutonium dioxide | Stainless Steel | none | liquid sodium | ? | - | 600 |

Summary Characteristics of Main Reactor Types.

10.3.8 CONCLUDING COMMENTS ON FISSION REACTORS:-

A summary of the differences between in the different reactors is given in 'Nuclear Power' by Walter Patterson - chapter 2, and especially pages 72-73, and 'Nuclear Power, Man and the Environment' by R.J. Pentreath - sections 4.1 and 4.2.

The term 'THERMAL REACTOR' applies to all FISSION REACTORS other than FBRs which rely on slow or 'THERMAL NEUTRONS' to sustain the fission chain reaction.  FAST NEUTRONS are used in FBRs to breed more FISSILE plutonium from FERTILE URANIUM - 238.  This process extends the resource base of URANIUM by a factor of 50 or more, i.e. a FBR will produce MORE fuel than it consumes.

REPROCESSING IS NOT ESSENTIAL for THERMAL REACTORS, although for those such as MAGNOX which have a low burn up it becomes a sensible approach as much of the URANIUM - 235 remains unused.  Equally in such reactors, it is believed that degradation of the fuel cladding may make the long term storage of used fuel elements difficult or impossible.

IAEA figures suggest that for PWR (and BWR?) fuel elements it is marginally UNECONOMIC to reprocess the fuel - although many assumptions are made e.g. the economic value of PLUTONIUM which make definite conclusions here difficult.

DECISIONS on whether to reprocess hinge on:-

the Uranium supplies available to Country in question,

whether FBRs are to be built.

FOR AGR and CANDU reactors it becomes more attractive economically to reprocess, although the above factors may be overriding - e.g. CANADA which has large uranium reserves IS NOT reprocessing.

10.3.9 REPROCESSING IS ESSENTIAL FOR FAST BREEDER REACTORS.

For each FBR, approximately FOUR times as much fuel as in the reactor will be in the various stages of cooling, transportation to and from reprocessing, and the reprocessing itself.  The time taken to produce TWICE this total inventory is known as the doubling time and will affect the rate at which FBRs can be developed.  Currently the doubling time is about 20 years.

PLUTONIUM is produced in 'THERMAL REACTORS' but at a much slower rate than in FBRs.  The PLUTONIUM itself also undergoes FISSION, and this helps to reduce the rate at which the FISSILE URANIUM - 235 is used.

In theory there is nothing to stop reprocessing the spent fuel, extract the plutonium and enrich the depleted uranium for reuse as a fuel in 'THERMAL REACTORS'.  The plutonium may also be consumed in such reactors, or the fuel may be MOX - mixed oxides of uranium and plutonium.

TEXTBOOKS often state that this is what happens in UK, but in practice the URANIUM and PLUTONIUM are stockpiled for future possible use in FBRs

10.3.10 NUCLEAR POWER -DECOMMISSIONING REACTORS

The WINDSCALE experimental AGR was shut down in 1981 after 17 years of operation.

TWO YEARS of testing then occurred, followed by removal of the entire spent fuel.

In 1985 a start was made on removing the reactor entirely.

PHASE 1

- construction of a waste packaging unit with remote handling facilities to check waste for radioactivity as it is removed from reactor.

provision of an access tunnel through steel outer dome and removal of 1 (possibly 2) of four boilers.

PHASE 2 - dismantling of reactor itself using a specially designed robotic arm.

Decommissioning is scheduled to take about 10 years as there is no urgency for completion of task some time will be spent in experimentation.

Site will be returned to a greenfield site.

NOTE:  British Energy prefer a solution where reactor is entombed and covered with soil rather than removing reactor completely.

Four civil programme reactors have been decommissioned - Berkeley and Trawsfynydd and Hunterston A in Scotland, and recently, Bradwell.  At all of the above,  the spent fuel has been removed and a start has been made on removing the non-reactor buildings from site.  This is well advanced in the case of Berkeley.

11.  THE NUCLEAR FUEL CYCLE.

11.1   TWO OPTIONS AVAILABLE:-

1)  ONCE-THROUGH CYCLE,

2)  REPROCESSING CYCLE

CHOICE DEPENDS primarily on:-

1)  REACTOR TYPE IN USE,

2) AVAILABILITY OF URANIUM TO COUNTRY IN QUESTION,

3)  DECISIONS ON THE POSSIBLE USE OF FBRs.

ECONOMIC CONSIDERATIONS show little difference between two types of cycle except that for PWRs, ONCE-THROUGH CYCLE appears MARGINALLY more attractive.

---------------------------------------------------

11.2  NUCLEAR FUEL CYCLE can be divided into two parts:-

FRONT-END  - includes MINING of Uranium Ore, EXTRACTION, CONVERSION to "Hex", ENRICHMENT, and FUEL FABRICATION.

BACK-END   -includes TRANSPORTATION of SPENT FUEL, STORAGE, REPROCESSING, and DISPOSAL.

NOTE:

1)      Transportation of Fabricated Fuel elements has negligible cost as little or no screening is necessary.

2)   For both ONCE-THROUGH and REPROCESSING CYCLES, the FRONT-END is identical.  The differences are only evident at the BACK- END.

11.3 FRONT-END of NUCLEAR FUEL CYCLE (see Fig 11.1)

1)            MINING - ore needs to be at least 0.05% by weight of U3O8 to be economic.  Typically at 0.5%, 500 tonnes (250 m3) must be excavated to produce 1 tonne of U3O8 ("yellow-cake") which occupies about 0.1 m3.

Ore is crushed and URANIUM is leached out chemically when the resulting powder contains about 80% yellow-cake.  The 'tailings' contain the naturally generated daughter products.

2)      PURIFICATION/CONVERSION - entails dissolving 'yellow-cake' in nitric acid and conversion to Uranium tetrafluoride which can be reduced to URANIUM METAL for use as a fuel element for MAGNOX reactors or converted into its oxide form for CANDU reactors.  All other reactors require enrichment, and for these the UF4 is converted into URANIUM HEXAFLOURIDE of "HEX".

3)        ENRICHMENT. Most reactors require URANIUM or its oxide in which the proportion of URANIUM - 235 has been artificially increased.

Enrichment CANNOT be done chemically and the slight differences in PHYSICAL properties are exploited e.g. density.  TWO MAIN METHODS OF ENRICHMENT BOTH INVOLVE THE USE OF "HEX" WHICH IS A GAS. (Fluorine has only one isotope, and thus differences arise ONLY from isotopes of URANIUM).

a)	GAS DIFFUSION - original method still used in FRANCE.  "HEX" is allowed to diffuse through a membrane separating the high and low pressure parts of a cell.  235U diffuses faster the 238U through this membrane.  Outlet gas from lower pressure is slightly enriched in 235U  (by a factor of 1.0043) and is further enriched in subsequent cells.  HUNDREDS or even THOUSANDS of such cells are required in cascade depending on the required enrichment.  Pumping demands are very large as are the cooling requirements between stages.

Outlet gas from HIGH PRESSURE side is slightly depleted URANIUM and is fed back into previous cell of sequence.

AT BACK END, depleted URANIUM contains only 0.2 - 0.3% 235U, and it is NOT economic to use this for enrichment.  This depleted URANIUM is currently stockpiled, but could be an extremely value fuel resource should we decide to go for the FBR.

b)	GAS CENTRIFUGE ENRICHMENT - this technique is basically similar to the Gas diffusion in that it requires many stages.  The "HEX" is spun in a centrifuge, and the slightly enriched URANIUM is such off near the axis and passed to the next stage.  ENERGY requirements for this process are only 10 - 15% of the GAS DIFFUSION method.  All UK fuel is now enriched by this process.

Fig. 11.1   Once through and Reprocessing Cycle for a PWR.  The two cycles for an AGR are similar, although the quantities are slightly different.    For the CANDU and MAGNOX reactors,  no enrichment is needed at the front end

4)        FUEL FABRICATION - For MAGNOX reactors URANIUM metal is machined into bars using normal techniques.  CARE MUST BE TAKEN not to allow water into process as this acts as a moderator and might cause the fuel element to 'go critical'. CARE MUST ALSO BE TAKEN over its CHEMICAL TOXICITY.  URANIUM METAL bars are about 1m in length and about 30 mm in diameter.

Because of low thermal conductivity of oxides of uranium, fuels of this form are made as small pellets which are loaded into stainless steel cladding in the case of AGRs, and ZIRCALLOY in the case of most other reactors.

PLUTONIUM fuel fabrication presents much greater problems.  Firstly, the workers require more shielding from radiation.  Secondly, it is chemically toxic.  Thirdly, is metallurgy is complex.  FOURTHLY, AND MOST IMPORTANT OF ALL, IT CAN REACH CRITICALITY ON ITS OWN.  THUS CARE MUST BE TAKEN IN MANUFACTURE AND ALL SUBSEQUENT STORAGE THAT THE FUEL ELEMENTS ARE OF A SIZE AND SHAPE WHICH COULD CAUSE CRITICALITY..

NOTE:-

1)           The transport of PLUTONIUM fuel elements could present a potential hazard, as a crude atomic bomb could, at least in theory, be made without the need for vast energy as would be the case with enriched URANIUM.  Some people advocate the DELIBERATE 'spiking' of PLUTONIUM with some fission products to make the fuel elements very difficult to handle.

2)       1 tonne of enriched fuel for a PWR produces 1PJ of energy.  1 tonne of unenriched fuel for a CANDU reactor produces about 0.2 PJ.  However, because of losses, about 20-25% MORE ENERGY PER TONNE of MINED URANIUM can be obtained with CANDU.

11.4 NUCLEAR FUEL CYCLE (BACK END) - SPENT FUEL STORAGE.

SPENT FUEL ELEMENTS from the REACTOR contain many FISSION PRODUCTS the majority of which have SHORT HALF LIVES.  During the decay process, heat is evolved so the spent fuel elements are normally stored under water - at least in the short term.

After 100 days, the radioactivity will have reduce to about 25% of its original value, and after 5 years the level will be down to about 1%.

Much of the early reduction comes from the decay of radioisotopes such as IODINE - 131 and XENON - 133 both of which have short half-lives (8 days and 1.8 hours respectively).

On the other hand elements such as CAESIUM - 137 decay to only 90% of their initial level even after 5 years. This element account for less than 0.2% of initial radioactive decay, but 15% of the activity after 5 years.

SPENT FUEL ELEMENTS are stored under 6m of water which also acts as BIOLOGICAL SHIELD.  Water becomes radioactive from corrosion of fuel cladding causing leakage - so water is conditioned - kept at pH of 11 - 12 (i.e. strongly alkaline in case of MAGNOX).  Other reactor fuel elements do not corrode so readily.

Should any radionucleides actually escape into the water, these are removed by ION EXCHANGE.

Subsequent handling depends on whether ONCE-THROUGH or REPROCESSING CYCLE is chosen.

Spent fuel can be stored in dry caverns, but drying the elements after the initial water cooling is a problem.  Adequate air cooling must be provided, and this may make air - radioactive if fuel element cladding is defective.  WYLFA power station stores MAGNOX fuel elements in this form.

11.5 ONCE-THROUGH CYCLE

ADVANTAGES:-

1)         NO  REPROCESSING needed - therefore much lower discharges of low level/intermediate level liquid/gaseous waste.

2)             FUEL CLADDING NOT STRIPPED - therefore less solid intermediate waste created.

3)             NO PLUTONIUM in transport so no danger of diversion.

DISADVANTAGES:-

1)         CANNOT RECOVER UNUSED URANIUM - 235, PLUTONIUM OR URANIUM - 238.  Thus fuel cannot be used again.

2)            VOLUME OF HIGH LEVEL WASTE MUCH GREATER (5 - 10 times) than with reprocessing cycle.

3)            SUPERVISION OF HIGH LEVEL WASTE needed for much longer time as encapsulation is more difficult than for reprocessing cycle.

11.6 REPROCESSING CYCLE

ADVANTAGES:-

1)         MUCH LESS HIGH LEVEL WASTE - therefore less problems with storage

2)      UNUSED URANIUM - 235, PLUTONIUM AND URANIUM - 238 can be recovered and used again, or used in a FBR thereby increasing resource base 50 fold.

3)       VITRIFICATION is easier than with spent fuel elements.  Plant at Sellafield now fully operation.

DISADVANTAGES:-

1)       A MUCH GREATER VOLUME OF BOTH LOW LEVEL AND INTERMEDIATE LEVEL WASTE IS CREATED, and routine emissions from reprocessing plants have been greater than storage of ONCE-THROUGH cycle waste.

Note: At SELLAFIELD the ION EXCHANGE plant called SIXEP (Site Ion EXchange Plant) was commissioned in early 1986, and this has substantially reduced the radioactive emissions in the effluent discharged to Irish Sea since that time.  Further improvements with more advance waste treatment are under construction..

2)            PLUTONIUM is stockpiled or in transport if used in FBRs. (although this can be 'spiked').

11.7 REPROCESSING CYCLE  - the chemistry

Fuel stored in cooling ponds

to allow further decay

:

:                                     cladding to inter-

Fuel   decanned    -->                mediate level

:                                         waste storage

:

:

Dissolve Fuel in

Nitric Acid

:

:

add tributyl phosphate (TBK)             High level

in odourless ketone  (OK)   -->                waste

:

:

further treatment with TBK/OK --> medium level

:                                                      waste

:

:

reduced with ferrous  sulphamate

:                                 :

:                                 :

URANIUM             **PLUTONIUM

converted to              converted for

UO3 and                    storage or fuel

recycled                 fabrication for FBR

**NOTE:  PLANT MUST BE DESIGNED VERY CAREFULLY AT THIS STAGE TO PREVENT THE PLUTONIUM REACHING A CRITICAL SHAPE AND MASS.  PIPES IN THIS AREA ARE THUS OF SMALL DIAMETER.

11.8  WASTE DISPOSAL

These are skeletal notes as the topic will be covered more fully by Alan Kendall in Week 10/11

1)       LOW LEVEL WASTE.

LOW LEVEL WASTE contains contaminated materials with radioisotopes which have either very long half lives indeed, or VERY SMALL quantities of short lived radioisotopes.  FEW SHIELDING PRECAUTIONS ARE NECESSARY DURING TRANSPORTATION.

NOTE:THE PHYSICAL BULK MAY BE LARGE as its  volume   includes items which may have been contaminated during routine operations.  It includes items such as Laboratory Coats, Paper Towels etc.  Such waste may be generated in HOSPITALS, LABORATORIES, NUCLEAR POWER STATIONS, and all parts of the FUEL CYCLE.

BURYING LOW LEVEL WASTE SURROUNDED BY A THICK CLAY BLANKET IS A SENSIBLE OPTION.  The clay if of the SMECTITE type acts as a very effective ion EXchange barrier which is plastic and deforms to any ground movement sealing any cracks.

IN BRITAIN IT IS PROPOSED TO BURY WASTE IN STEEL CONTAINERS AND PLACED IN CONCRETE STRUCTURES IN A DEEP TRENCH UP TO 10m DEEP WHICH WILL BE SURROUNDED BY THE CLAY.

IN FRANCE, THE CONTAINERS ARE PILED ABOVE GROUND AND THEN COVERED BY A THICK LAYER OF CLAY TO FORM A TUMULUS.

2) INTERMEDIATE LEVEL WASTE.

INTERMEDIATE LEVEL WASTE contains HIGHER quantities of SHORT LIVED RADIOACTIVE WASTE, OR MODERATE QUANTITIES OF RADIONUCLEIDES OF MODERATE HALF LIFE - e.g. 5 YEARS - 10000 YEARS HALF LIFE.

IN FRANCE SUCH WASTE IS CAST INTO CONCRETE MONOLITHIC BLOCKS AND BURIED AT SHALLOW DEPTH.

IN BRITAIN, one proposal was to bury similar blocks at the SAME SITES to those used for LOW LEVEL WASTE.

IT IS CLEARLY UNSATISFACTORY AS CONFUSION BETWEEN THE TWO TYPES OF WASTE WILL OCCUR.

NIREX have no backed down on this proposal. SEPARATE FACILITIES ARE NOW PROPOSED.

3)        HIGH LEVEL WASTE.

It is not planned to permanently dispose of HIGH LEVEL WASTE UNTIL IT HAS BEEN ENCAPSULATED.  At Sellafield, high level waste is now being encapsulated and stored on site in specially constructed vaults.

MOST RADIONUCLEIDES IN THIS CATEGORY HAVE HALF LIVES OF UP TO 30 YEARS, and thus activity in about 700 years will have decayed to natural background radiation level.

PROPOSALS FOR DISPOSAL INCLUDE burial in deep mines in SALT; burial 1000m BELOW SEA BED and BACKFILLED with SMECTITE; burial under ANTARCTIC ICE SHEET, shot INTO SPACE to the sun!

12:  Nuclear Fusion

12.1 Basic Reactions

Deuterium is Hydrogen with an additional neutron, and is abundant in sea water.  Tritium is a third isotopes of hydrogen with 1 proton and 2 neutrons.  It is radioactive having a half life of 12.8 years.

The current research is directed towards Deuterium - Tritium fusion as this the more easy to achieve.  The alternative - Deuterium - Deuterium Fusion is likely not to be realised until up to  50 years after D- T fusion becomes readily available.  Current estimates suggest that D - T fusion could be commercially available by 2040, although several Demonstration Commercial Reactors are likely before that time.

Tritium will have to be generated from Lithium and thus the resource base for D - T fusion is limited by Lithium recourses.

The basic reaction for D - T fusion is

D   + T  ----(               He   + n

Where is waste product is Helium and inert gas

To generate tritium,  two further reactions are needed

6Li  +   n    =   T   +     He

and        7Li   +   n    =   T   +     He   +  n

Since spare neutrons are generated by the fusion reaction itself,  it is planned to produce the Tritium needed by placing a lithium blanket around the main reaction vessel.

  - The Triple Product

To achieve fusion three critical parameters must be met

- The deuterium - tritium gas must be as a plasma - i.e. at high temperature such that the electrons are stripped from their parent atoms rather than orbit them.   In a plasma, deuterium and tritium become ions and it is the central ion density which is critical.   If the pressure of the gas is too high,  then the plasma cannot form easily.   Typical values of ion density which must be achieved are around 2 - 3 x 1020 ions per cubic metre.

- The temperature must be high typically in excess of 100 million oC.   The fusion reaction rate falls off dramatically such that at 10 million oC, the reaction rate is less than 1/20000th of that at 100 million oC.

- The confinement time of  several seconds

The triple product of the three above parameters is used as a measure to see how close to relevant reactor conditions, experiments currently achieve.   This is illustrated in Fig. 12.1

Fig. 12.1.   Triple product plotted against Central Ion Temperature with a few selected data points from JET obtained during the 1990's

12.3 Progress towards fusion (based on triple product values)

Two terms are used here

Break - even - this is where the energy released by the reaction equals the energy input to start the reaction.

Ignition is the point where the energy released is sufficient to maintain the temperature of the plasma without need for external inputs.

| Date | Distance from Ignition |
| --- | --- |
| 1970 | 25 000 times away |
| 1980 | 700 times away |
| 1983 | 100 times away |
| 1988 | 20 times away |
| 1989 | 10 times away |
| 1991 | Break even achieved and now about 6 times away from ignition |

JET was not designed to go above about break even, and experiments are now looking at numerous aspects associated with the design of ITER - International Thermonuclear Experimental Reactor

  - A simplified section of a fusion device showing the helical magnetic field

  - Basic Reactor Design

Experience has shown that the most promising reactors are those which are  bases on a TOKOMAK which usually takes the form of a donut    The plasma must be kept away from the walls as it is so hot and this is achieved by using magnetic confinement.  To do this there are two magnetic field - one the TOROIDAL one consists of regularly spaced coils in a vertical plane,  the second the POLOIDAL field is generated by passing a heavy current through the plasma itself.  The net result of these two field is to produce a helical field as shown in Fig. 12.2, while the actual cross section of the JET reactor is shown in Fig. 12.3

Fig.  12.3   Cross Section of the JET reactor - the Plasma chamber is "D" shaped.

12.5   A full Reactor design for commercial operation

Fig .12.3 shows a schematic of how a commercial reactor might operate.  The Deuterium and Tritium are fed into the reaction chamber and the waste product is Helium.  Neutrons pass through to the Lithium blanket to generate Tritium and further Helium which are separated as shown.   The heat from the reaction is cooled by a cooling circuit which via a secondary circuit raise steam for generation of electricity in the normal way.

Fig. 12.4  showing a schematic of a possible commercial fusion power reactor.

12.5  Why is it taking so long?

There are numerous technical problems to be overcome and many thousands of  test runs are done each year to try to modify designs and improve performance.  One of the critical issues at the moment is the question of impurities which arise when the plasma touches the wall, causing a limited amount of vapourisation.  The ions vaporise, act as impurities and lower the internal temperature making it difficult to sustain the required temperature.

Current experiments in the late 1990's have tackled this problem by redesigning the "D" to incorporate divertors at the base. The magnetic field can be altered to cause the impurity ions to collect in the diverter area and hence be withdrawn from the system.  The latest thoughts of the shape are shown in Fig. 12.5

Fig. 12.5 the current shape of the "D" showing the divertor box at the base which is used to remove impurities.

  - Safety

Unlike nuclear fission there are no waste products other than Helium which is inert.  The reactor itself will become radioactive, but no more so than a conventional nuclear reactor,  and this can be dismantled in 100 years without much difficulty.  Unlike fission reactors,  the inventory of fuel in the reactor at any one time is very small, and in any incident,  all fuel would be used within about 1 second.   There is a possible hazard from a Tritium leak from the temporary store,  but once again the inventory is small

13  NUCLEAR POWER - RADIATION AND MAN

13.1 QUANTITY OF RADIOACTIVITY - a measure of the number of atoms undergoing disintegration.

OLD UNIT:- CURIE (Ci) - number of disintegrations per second of 1g of radium.

NEW UNIT:-BEQUEREL (Bq) - one disintegration per second.

1 Ci  =  3.7 x 1010 Bq

--------------------------------------------------

13.2 ABSORBED DOSE:-

OLD UNIT:-  1 rad   =  0.01Jkg-1  -  thus absorbed dose is expressed in terms of energy per unit mass.

NEW UNIT:-  1 gray (Gy) =  1Jkg-1

i.e.  1 Gy  =  100 rad

---------------------------------------------------

13.3 RELATIVE BIOLOGICAL EFFECTIVENESS (R.B.E):-

Takes account of fact that different radiations have different effects on living tissue.  Thus absorbed dose as measured above in GRAY is modified as follows:-

WEIGHTING FACTOR

X-rays, beta & gamma rays              	    1.0

Neutrons & protons                  		  10.0

Alpha particles (helium nucleus)     	 20.0

NEW UNIT:-   Sievert    (Sv)

OLD UNIT:-   rem     (Rad Equivalent Man)

1 Sv  =  100 rem

13.4 NUCLEAR RADIATION (annual doses):-

- includes allowance for inhaled radon of 0.8 mSv.

| Location | mSv |
| --- | --- |
| NATURAL RADIATION |  |
| UK average | 1.9 |
| London | 1.6 |
| Aberdeen | 2.5 |
| USA average | 1.8 |
| Colorado | 3.3 |
| India (Kerala) | 8.0 - 80.0 |
| Sri Lanka | 30.0-70.0 |
| Brazil - Minas Gerais | 17.0-120.0 |
| Rio de Janerio | 5.5 - 12.5 |
| MAN MADE |  |
| diagnostic X-Ray | 0.45 |
| radiotherapy | 0.05 |
| Atmospheric Weapon Tests | 0.01 |
| Miscellaneous |  |
| TV + air travel | 0.008 |
| Nuclear Power Stations | 0.0003 |
| Reporcessing | 0.0025 |
| Coal Fired Power stations |  |
| radioactive emissions in ash/stack | 0.001 - 0.002 |

RECOMMENDED MAXIMUM DOSE TO GENERAL PUBLIC

- 5 mSv in any one year or 0.1 Sv averaged over 1 lifetime.

RECOMMENDED MAXIMUM DOSE TO MONITORED WORKERS

- 50 mSv. in any one year

13.5    ACTUAL DOSES RECEIVED BY CRITICAL GROUP OF GENERAL PUBLIC (as % of DOSE LIMIT i.e. 5 mSv) as a result of nuclear installations.

Sellafield - fishermen/lava bread eaters -  	30% **

Trawsfynydd - eaters of locally caught fish

8%

Other Power Stations                                     <0.3%

Fuel fabrication/ Harwell/ Dounreay         	<1.0%

NOTE: * Discharges from Sellafield were significantly reduced following commissioning of SIXEP in 1986.

**  Even for Sellafield this  is less than the background level, and would be achieved by 3 medical x-rays or by moving to Colorado.

13.6   ACTUAL DOSES RECEIVED BY POWER STATION WORKERS

- number of workers in each group - These data  are for early 1980s

|  | < 5 mSv | 5 - 15 mSv | 15 - 50 mSv |
| --- | --- | --- | --- |
| Berkeley | 152 | 276 | 17 |
| Bradwell | 503 | 82 | 6 |
| Hinkley Point A & B | 1135 | 139 | 1 |
| Trawsfynydd | 404 | 130 | 13 |
| Dungeness | 786 | 2 | 0 |
| Sizewell | 472 | 10 | 0 |
| Oldbury | 512 | 18 | 5 |
| Wylfa | 677 | 15 | 0 |
| TOTAL | 4641 | 672 | 42 |
| 1977 | 4477 | 738 | 39 |
| 1978 | 4666 | 754 | 34 |

13.6  PROBABILITY OF DEATH FOR AN INDIVIDUAL IN UK PER YEAR

| ACTIVITY | RISK |
| --- | --- |
| Smoking 10 cigarettes a day | 1 in 400 |
| All Accidents | 1 in 2000 |
| Traffic Accidents | 1 in 8000 |
| Leukaemia from natural causes | 1 in 20000 |
| Industrial Work | 1 in 30000 |
| Drowning | 1 in 30000 |
| Poisoning | 1 in 100000 |
| Natural Disasters | 1 in 500000 |
| Struck by Lightning | 1 in 2000000 |
| Risk |  |
| > 1 in 1000 | considered unacceptable |
| 1 in 10000 to 1 in 100000 | warrants money being spent to eliminate or reduce effects |
| < 1 in 100000 | considered as an individual risk and warning may be sufficient - e.g. floods, landslides etc. |
| < 1 in 1000000 | generally considered acceptable |

# Text boxes

1 -> 2 compressor work in  :

2 -> 3 boiler heat in:

3 -> 4 turbine work out:

4 -> 1 condenser heat out]

1->2 feed pump work in:

2->3->4 heat in (boiler):

4->5 turbine work out:

5->1 condenser (heat out)

1->2      feed pump work:

2->3->4 boiler heat in:

4->5       superheater:

5 ->6     turbine work out

6->1       condenser heat out

Steam conditions superheat to 700K, other conditions as for carnot cycle.

( ideal = 37.3%    :

ssc = 0.84 kg MJ-1

( ideal = 38.3%:

ssc = 0.69 kg MJ-1

1->2 feed pump:

2->3->4 boiler heat in:

4->5 superheater

5->6 hp turbine:

6->7 reheat:

7->8 Ip turbine:

8->1 condenser

Advantages

- Further increase in (

- Further reduction in specific steam consumption.

Bleeding pressures at (0.97, 0.25 and 0.04 MPa),   other conditions as in previous example.  Although only three bleeding pressures are shown, this is symbolic.  In a typical coal fired power station there will be as many as 7 bleeding pressures,  each with its own feed water heater.

(ideal = 40.2%   :

ssc = 0.98 kg MJ-1