ENV-2E02ENERGY RESOURCES 2005

A Domestric Hot Water System

Lecture Handout 4

Section 14            Introduction to Renewables

Section 15            Solar Energy

Section 16            Wind Energy

A Darrieus Rotor

14.  RENEWABLE ENERGY RESOURCES.

14.1 ORIGINS OF RENEWABLE ENERGY RESOURCES

Renewable energy sources may be divided into three categories

1) Solar  -

a) direct

b) indirect - e.g. wind, waves., biomass

2) Lunar  -     tidal

3) Geothermal

Of these, both direct and indirect solar sources are about 50000 times the geothermal resource, and 500000 times the lunar source.

As revision you should consult section 4 of ENV-2A14 Introduction to Energy for the magnitudes of the different sources, and section 4 of ENV-2E02 for a discussion of the environmental impacts of the different renewable energy sources.

Often included in the heading of Renewable  Energy is Energy from Waste.  It is perhaps more correctly and alternative Energy Source.

The following sections will cover in more detail most of the renewable energy sources as follows:

- direct solar including both passive and active solar energy and methods for harnessing.  [Included in this section as no further reference will be made will be a short reference to OTEC].   A review of biomass methods will also be covered in this section.

- wind

- water power

17)	hydro

18)	tidal

19)	wave

20)	geothermal

21)	waste

15. SOLAR

15.1 Introduction

The sun behaves as a nearly perfect BLACK BODY radiator at a temperature of 6000K generated from nuclear fusion.

it emits a continuous spectrum from 200nm (ultra- violet), through visible light (400 - 800nm) to infra-red (up to 3000nm).

Outside earth's atmosphere, the intensity of solar radiation is 1395 Wm-2, although this may vary by up to +_ 5% as a result of sun spot activity, and from the variation in the distance of the sun from the earth.

Absorption by the atmosphere (which is more significant at certain wavelengths) reduces value by about 28% to 1000 W-2 on a horizontal surface directly below the sun.

Reduction for more northerly latitudes is not that great provided that collector is tilted perpendicular to the sun.  Thus in UK a values of 800+ Wm-2 can be achieved.

Much more significant in reducing the levels are the climatic conditions.

Typical annual averages:-

UK                                  8 MJm-2     (about  93 Wm-2 - up to 115 Wm-2 in in SE)

France (South)               14 MJm-2     (about 162 Wm-2)

Australia                        16 MJm-2     (about 185 Wm-2)

India                              20 MJm-2     (about 231 Wm-2)

Solar radiation has two components:-

a)	direct   - a direct line of sight from sun to place in question.

b)	indirect (or diffuse)- solar radiation from reflections from the ground, atmosphere, clouds etc.

Indirect radiation is always present during daylight hours.  Direct radiation is present only when sun is not obscured by cloud.     Diffuse radiation on a clear day is less than diffuse radiation on a cloudy day.  Thus in summer,  north facing windows receive more solar gain on a cloudy day than on a clear day.

Unlike many countries, the direct component is relatively small - only 45% in summer, and about 35% in winter.  Nevertheless  up to 80 Wm-2 is still received during the day time on a dull winters day in the UK.

Applications in situations where direct component is a major part of total radiation:-

1)	direct electricity generation from photo- voltaic cells.  BP have developed a refrigerator/freezer for the storage of vaccines in    Third World countries.

2)	Indirect electricity generation by raising steam.  e.g. Paris exhibition 1879, Egypt 1913, Bairstow, California 1982.

3)	Absorption cycle refrigerators, freezers, and air-conditioners.

4)	Solar cooking. e.g. China, India.

5)	Special applications - metallurgical etc., Odeillo, France.

Most direct applications require focusing or semi- focusing collectors which must be tracked with the sun either automatically or manually.  For some applications, some types of manual tracking collector need only be adjusted once a week.

In UK, most applications will be for low temperature heating requirements e.g. hot water/ space heating.  Diffuse radiation can be collected with stationary flat-plate collectors, and thus do not require so frequent attention either for periodic tracking adjustments or for servicing.

Solar energy can be exploited through BIOMASS.  Wood and peat are harvested and burnt.  Alternatively, digestion of plants can yield methane or fuels such as methanol.  In some cases electricity can be obtained directly - see for example New Scientist (April 16th 1987).

15.2  Active and Passive systems

Systems which deliberately collect solar radiation such as any of the devices listed above are known as ACTIVE SOLAR DEVICES.

PASSIVE SOLAR ENERGY applications include incidental solar heating (or cooling) of buildings  from architectural design, crop drying, drying washing, etc.  Greenhouses are a particular architectural which exploits PASSIVE SOLAR ENERGY.

Some people also include in the group PASSIVE, those hot water heaters etc. which operate on a thermosyphon and thus have no moving (ACTIVE) parts.

15.3 Summary of Solar Energy

|  |  |  |  | Solar Radiation |
| --- | --- | --- | --- | --- |
|  |  | Deliberate Collection |  |  |  | Incidental Collection |
|  | Unfocussed |  | Focused |  |  | Architectural Design |
|  |  |  |  |  |  | Biomass |
|  | flat plate collectors/ solar ponds |  | parabolic or tracking planar collectors (with or without extra lenses/mirrors) |  |  |
|  | water/space heating |  | High temperature R & D |  |  | heating / cooling |
|  |  |  | Process Heat Power generation |  |  | greenhouses crop drying |

Fig. 15.1  Summary of Solar Energy

15.4  Passive Solar Energy - heating.

Solar energy (both direct and diffuse) falling on a object will cause it temperature to rise until there is a balance between the heat gained and the heat lost.     A small proportion of the incoming radiation will also be reflected from the surface.

WALLS AND ROOF - often rise to a temperature ABOVE the surrounding air-temperature in direct sunlight, and this may cause some   heat to flow inwards.    Can be significant in hot climates.  [Note:  the need to insulate buildings in hot climates is often over-looked - it is as important as insulation of buildings to retain heat in cold climates].

WINDOWS - a significant proportion (about 80 - 85% in the case of single glazing) is transmitted directly to the interior where it will be absorbed by the contents of the room.

However, the heat energy given off by these objects is of a much longer wavelength, and a large proportion of this heat will be internally reflected by the glass, and will thus be 'trapped'.

| Vent | Winter | Summer |
| --- | --- | --- |
| A |  |  |
| B |  |  |
| C |  |  |
| D |  |  |
| E |  |  |

On a CLEAR day in the depth of winter a south facing room with large windows can be self sufficient in energy during daylight hours even in the UK.  However, for the 17+ hours of darkness, such large windows would cause increased heat losses.

BALANCED ARCHITECTURAL DESIGN IS NEEDED TO GIVE OPTIMUM IN FUEL SAVING.

NOTE:-

For SOUTH facing windows, maximum solar gain occurs in March/April and August/September.  The sun is too high in the sky in June and a higher proportion of incoming sunlight is reflected.     This can help to reduce overheating in summer.  However, overheating in SOUTH facing rooms in summer can occur  even in the UK  unless overhanging shading is provided.

15.5 Architectural Features to enhance Passive Gain.

1)	Minimise north facing window area

2)	Maximise south facing window area and provide these rooms with SOLID uncarpeted floors e.g. polished timber or tiles.    Alternatively provide a conservatory on south side of house.

3)	Place most heavily used rooms, or rooms with lowest activity levels to south of building.

4)	Provide inter room ventilation by mechanical means, and provide automatic ventilation of conservatories to avoid overheating in summer.

5)	Provide an overhang over south facing windows and shelter conservatories to minimise overheating in summer.    One method is to plant deciduous trees.  In winter the shading is limited, but in summer when in full leaf,  significant shading can be provided.  But trees close to property can cause foundation problems.

6)	Provide a Trombe Wall behind a glazed front wall, but ensure adequate ventilation is provided for summer.

Some  Examples of Passive Solar Design and associated problems

Fig. 15.2   A Trombe wall  house of the design used in Bebbington scheme.

A Passive Design incorporating a Trombe Wall   construction includes the old people's homes in  Bebbington  which were designed jointly by Pilkington Glass and     Merseyside Development Corporation.  Success of  design depends on CORRECT operation of vents A - E      These were often set incorrectly by the occupants.

A second house - The Marseille House  also incorporates a series of slats which had to opened and closed correctly.

A School in Wallesey requires no active heating (see separate sheet).  Heat from lighting and body heat supplement solar gain through a double skinned glass wall.  Part of internal layer is constructed of reversible aluminium slats - black outwards in winter, shiny side outwards in summer.  Air temperatures range from 17oC in winter to 24oC in summer, although summertime radiant temperatures sometimes reach 28oC.

Fig. 15.4   Example of Passive Solar Cooling and Passive Solar Heating in a European style house.

The  “sun space” serves as a collector in winter when the solar shades are open and as a cooler in summer when the solar shades are closed. Thick concrete walls modulate wide swings in temperature by absorbing heat in winter and insulating in summer. Water compartments provide a thermal mass for storing heat during the day and releasing heat at night.

15.6 ACTIVE SYSTEMS - Flat Plate Collectors

1)	Thermosyphon - hot water storage cylinder must be above top of collector.

Fig.  15.5  A thermosyphon solar collector

NOTE:   The contra-flow system in the tank to ensure maximum efficiency

2)  Pumped Systems same basic diagram except  water is pumped around  circuit, and cylinder can be below collector.  However, active controls must be  present to ensure hot water is not pumped to radiate heat from collector at night time.

- Pumped Trickle Type Collectors

- these collectors allow water to run down in grooves  under gravity. Some experiments   have been made with additives to make water black and improve absorption.

All water runs by gravity over the collector.

Fig. 15.6.   A trickle type collector - NOTE:    contra flow system through tank

4)	Indirect Systems - use two storage cylinders, one for solar circuit to preheat the water before going into conventionally heated hot  water cylinder.

Fig. 15.7 An indirect solar heating system.

Solar Heating pre-heats incoming hot water and can be used even if the temperature rise is small.:   NOTE the contra flow heat exchangers in both tanks.

Fig. 15.8.   The Broadsol variant of indirect solar heating

- Tubular Flat Plate Collectors - these consist of a series of glass tubes at the centre of which is a pipe conducting the working fluid.   Some such schemes have evacuated tubes which reduce heat losses from collectors.

Fig. 15.9  The problem with flat plat collectors is that unless they are aligned perpendicular to the sun, the reflectivity of the cover glass can be high reducing the effective amount of energy available.

Fig. 15.10   Tubular collectors

With a tubular collects, the sun is perpendicular to the glass surface for a wide range of azimuth angles, and

thus reduces reflection. compared to flat plate   collectors.

Fig. 15.11 An array of tubular collectors

Note: spacing between tubes is necessary to exploit full potential.

15.7 Advantages and disadvantages of different types of flat plate collector.

1)	Thermosyphons must have cylinder perched at apex of roof.  In many houses there may be inadequate room.  Care must be taken  with pipe work runs to ensure free circulation.

2)	Pumped systems require pump energy.  It is normal to delay switching on system until collector temperature is at least 3oC   warmer than water in cylinder.

3)	Provision must be made to avoid water in collector from freezing.   - remember the collector may be several degrees colder than the air temperature on a clear night.  Collectors should contain anti-freeze or should be drained.

4)	Thermosyphons cannot be drained conveniently.  Trickle systems are the best as they automatically drain when pump is switched  off.

5)	Direct systems cannot be used if anti-freeze or other additives are present.  Further if water temperature is not high enough, then  the storage tank becomes an ideal breeding ground for Legionnaires Disease bacteria.

6)	Indirect systems are convenient in that topping up by conventional sources can be done.

7)	Tubular collectors improve efficiency somewhat, but seasonal performance of all collectors will not exceed about 50 - 60%

(DESPITE MANUFACTURER'S CLAIMS!).

NOTE:  Collectors are most efficient if they raise the water temperature by only a few degrees.  Double glazing REDUCES efficiency  unless high temperatures >80oC are used.

15.8 Some Resuts from the Broadsol Project

The Broadsol Project was initiated by a consortium including UEA,  Bradladn District Council  and CML Contracts who did the installation.

The aim was to involve the community and ultimately 40 householders had panels attached to their properties with 19 of them being monitored.

Fig. 15.12   Broadsol installation in Norwich

Over the year  one installation achieved 911.562 kWh  despite manufacturers claims that the figure would be higher.   Some interesting thigns emerge.

Up to 7+ kWh  can be achieved on a sunny day – more than sufficient for  requirements.  Even on a March day (March 2nd 2004) when there was snow on the ground,  a temperature of 59oC was achieved.   This was more than sufficient for a childs bath  and an adult shower that evening – see Fig.  15.13

Fig. 15.13  performance of Broadsol Collector

15.8 Applications of active systems to space heating.

In Milton Keynes a house has been designed to use an active hot water system to assist in space heating (see separate sheet).  A 43 m2 collector feeds two 2.5 m3 storage tanks situated centrally in the house.  Computer simulations suggested that 30% savings could be achieved.

NOTE:

1)	Normal central heating systems using hot water  radiators have flow temperatures of the order of 650C, and return temperatures of 50oC.  Unlike hot water space heating CANNOT be preheated except with separate large radiators.

2)	Hot air systems run at lower temperatures - 35oC - 40oC, and are more suitable for incorporation into solar space heating  schemes.  This is used in Milton Keynes - water is circulated at 40oC and fan convectors blow warm air into rooms.

3)	A special three-way valve to connect in the auxiliary boiler is needed.

4)	Provision must be made in summer to dissipate and continuously circulate water other water may become excessively hot and  even boil! - e.g. run hot water to waste or have plenty of baths.

5)	Very large storage volumes are required for inter-season storage - see section on energy storage.

6)	Under IDEAL conditions, a 40 m2 solar collector working at 60% efficiency, could provide all space heat requirements in the  UK from April to September.  In December only 14% can be provided, while the contributions in October, November, January,                  February, and March would be 82%, 28%, 17%, 31%, and 64% respectively.

15.9 Solar Ponds

Solar ponds are usually shallow up to 2 - 3 m deep which are in effect very large flat plate collectors.  A fresh water layer overlies a solution of brine over a blackened base to the pond.

The upper water layer transmits the incoming radiation and acts as an insulator to the loss of heat.  The solar energy is absorbed by the brine.

Temperatures as high as 90oC have been reported  at the bottom of the pond which is sufficient to operate an organise fluid turbine operating on the  Rankine cycle.

Fig. 15.14 Schematic of a Solar Pond

Pipes circulated through the brine layer may be to extract heat from the pond.

Pioneer work on solar ponds was done in Israel (see New Scientist 17th Sept. 1981), and such a facility was also running near El Paso in Texas.  The Israeli system produced 5 MW, but was shut down in 1989 for economic reasons. There has also been a proposal to set up a similar system  in the Salton Sea in California.

Losses of water by evaporation can be a problem, and  mixing of the layers means that the upper layers must be desalinated and the salt returned to the lower layers.   The water consumption is large amounting to about 35 times that for an equivalent conventional station.

15.10  Solar stills

Small scale desalination plants may be made as hemi-spherical plastic domes covering a shallow bowl of salty solution.  Water evaporates, condenses on the inside of the dome, and runs down the surface for collection in an annular ring.   There have also been proposals to link these with solar ponds.

Fig. 15.15 A Solar Still for use in Hot Countries

15.11 Centralised Electric Power Stations

Solar 1 Power Station at Bairstow, California consisted of a large number of planar collectors each of which is individually controlled to track the sun and focus the energy on a central tower.  Here water was turned into steam which is used to turn steam turbines as in a conventional power station.  Efficiencies of conversion will depend on the steam temperatures reached, and will be limited by the second law of thermodynamics.  The plant was shut down in the mid 1990’s

Fig. 15.16  A centralised power station:-  each reflector must be steered individually to track the sun.

Other systems have been the SEGS series which have included a small natural gas boiler so that super-heating can be done - thereby improving efficiency.

Future developments suggest linking a combined cycle gas turbine with a centralised solar power station.  The exhaust from the gas turbine would be used primarily for superheating and reheating,  and finally the feed water heating,  whereas the solar system would  transfer the heat needed in evaporation.  This latter is a limitation in conventional CCGT's as the

temperature difference varies along the heat exchanger.  Using such a combination can boost the overall efficiency of a CCGT by 5%+

To supply all the electrical requirements of the USA about 12500 sq km of the Arizona Desert would be required  (assuming a conversion efficiency overall of 10%), and this would involve a huge investment in materials.

A very good review of the subject is included in Renewable Energy by Johansson, Kelly, Reddy, and Williams - pages 222-290.

15.12 Thermionic Generators

When an electrode is heated (by solar or other means) some electrons will gain sufficient energy to escape.  If a second electrode is placed close to the first and is cooled, then a current can be induced to flow in an external circuit connecting the two electrodes.

Fig. 15.17 A Thermionic Generator

15.13 Photo-voltaic cells

Semiconductors doped with minute quantities of certain elements (e.g. 1 part per million) can be arranged in pairs to generate electricity when irradiated by solar radiation.

Fig. 15.18 Schemtaic of A Photo-Volatic Cell

The first type - the "N" - type consists of an element such as silicon doped an element with one additional electron - e.g. arsenic.  The second or "P" type has a doping element with one fewer electron - e.g. boron.

Made up into a sandwich, of one "P" layer overlying one "N" layer these will generate an open circuit voltage of about 0.6 Volts, at an efficiency of about 15%.

Gallium Arsenide and Cadmium Sulphide will probably eventually give practical efficiencies of about 25%.  Theoretically, the efficiency is about 30%.

Only wavelengths shorter than 1100 nm are effective, longer wavelengths only produce heating of device which reduces efficiency.

Costs of photo voltaic cells

$ per watt

1961                         175

1973                          50

1975                          20

1986                        5 - 6

1991                         4 - 5

1994                         3 - 4

(c.f  about   $1.2 - $1.8 for coal      $2.0 - $ 2.3  for  a PWR,  and  ~ $0.8 for a CCGT

Note: these costs are only the capital costs, and do not include running costs - i.e. fuel costs).

Scope for much further reduction in price seems somewhat limited except for small scale applications  - possibly eventually to $2 - $3.  For example isolated farmsteads etc., applications in Third World for freezers/refrigerators.

The University of Northumbria installed a 40 kW photo-voltaic generator on the side of a building in 1994.

In recent months,  the Government has announced an initiative for schools ,  but these involve an outlay of £5000 by schools and resources are tight at present.

References:

New Scientist: p31 - 24th April 1986.

also several in REVIEW and NEW  REVIEW

15.14 Solar Satellite Power Stations.

Outside earth's atmosphere in geostationary orbit, sun never sets, there is no absorption by atmosphere, and no clouds.  Satellite Power Stations would collect energy and convert it into a microwave beam for transmission to earth where energy would be reconverted to electricity with an efficiency of about 80%.

Present schemes suggest placing giant solar modules in geosynchronous earth orbit. To produce as much power as five large nuclear power plants (1 billion watts each) several square miles of solar collectors, weighing 10 million pounds, would have to be assembled in orbit; an earth-based antenna 5 miles in diameter would be required. Smaller systems could be built for remote islands, but the economy of scale suggests advantages to a single large system

Power density in microwave beam as it heats earth would be beam would be 23 mW cm-2 at centre falling to 1 mW cm-2 at edge.

Exclusion zone necessary around each receiving site in case beam goes off "target".  Also fail safe devices are proposed to disperse beam in fault conditions.

Standards of microwave exposure:-

10 mW cm-2 in USA

but only 0.1 mW cm-2 in USSR.

References:

Peter Glaser - Power from the sun.   SCIENCE  22nd Nov 1968 p 857-61

J. Ridpath- New Scientist 25th May 1978.

15.15 Ocean Thermal Energy Conversion (OTEC)

In tropics sea surface temperature  is 25oC or higher while at a depth of 500m it is about 5oC.

Large potential - e.g. in Gulf Stream off Florida, but this might affect climate of northern Europe.

This temperature difference can be exploited using second law of thermodynamics.

Warm surface water is used to boil a fluid such as ammonia (or very low pressure steam) which then expands through a turbine and condensed by the supply of cold water.

As low temperatures are involved, the efficiency of conversion is low (about 1 - 2%).

Enormous volumes of water must be pumped from depth in normal operation of such a plant.

Generally non-polluting, but plant must be moored in deep water.  Hence there are problems in transmitting power ashore. Suggestions have been made to use electricity to electrolyse water and pump the hydrogen ashore as a fuel in its own right.

Scheme first proposed in 1880, and first one built was off Cuba in 1929.

Second scheme off West Africa in 1950s (3.5MW).  This scheme improved fishing in area as nutrients from deep ocean were brought to surface.

Current scheme (50MW) is in operation off Hawaii.

15.16 Biomass possibilities

Plants collect solar energy, and convert them into a form which might be used as a fuel - e.g. peat, wood etc.

In developed world, wood is being used faster than it is planted, so such schemes would need massive planting, and thus be in competition with areas used for food production, or alternative scrub land could be used.  Once again there is a substantial environmental impact.

However, on steep slopes, planting of trees could minimise soil erosion and could be an additional benefit.

Other plants such as sugar beet, water hyacinth etc. can be used, but are probably most effective if they are digested or fermented into a secondary fuel.

anaerobic digestion (oxygen free conditions) can produce biogas which is largely methane, but also contains CO2 which is often removed to provide a fuel of higher calorific value.

Many sewage works in UK treat their sewage in this way.  However, temperature must be kept above 34oC, and a large proportion of energy is required in heating.  In countries such as India and China small scale digesters are in widespread use, particularly where there are many animals.

On livestock farms in UK it could be a very appropriate form of energy.

Fermentation - Yeast can be used to break down carbohydrates in plants to form alcohols.  It is used extensively in Brazil where the alcohol is used as a petrol substitute. - but see issue of New Scientist January 1993 which suggests that Brazil may be moving away from this in favour of oil.

Sugar cane is crushed an allowed to ferment.  After distillation the liquid is 95% alcohol, and this is blended to give Gasohol (20% alcohol and 80% petrol).  New engines could run off alcohol  alone.

Advantages and Disadvantages of Biomass for UK

Advantages

1)     Techniques well developed e.g. in Brazil.

2)    Plants collect AND store energy.

3)    Non-polluting.

Disadvantages

- Energy used in collecting crops and in processing is not known wil a high degree of accuracy, and there are some who say that the energy requirements of maintenance and harvesting mean that the source is not a net energy producer (however look at practical notes).  We must be sure that scheme will be a net producer of energy.

- Biomass production would compete with food production.

- thus of Land in UK:-  about   75% of land is currently not built up or in conservation areas,

- and if all non-built up or mountainous regions were used exclusively for biomass, then 12% of UK energy needs could be   produced by this means.

In September 1992,  a proposal was suggested to use Thetford Forest  as a source of timber to use for fuelling a wood burning     power station.   Approximately  90 sq. km of forest would be needed to supply sufficient fuel for a 20 MW station.

Current    coal stations a  have about 100 times the  output.

REFERENCE:

E.S. Lipinsky "Fuel from biomass"  SCIENCE 10th               February 1978  p644 - 51.

15.17 Economics of Solar Hot Water Heaters in UK.

Current cost is about  £1400+ with a further  £600 needed for installation and plumbing work  (actually most costs quoted are higher than this typically £2500 +,  but we shall assume these prices).,

A large household uses 165 litres of hot water each day at a temperature of 55oC.

Inlet water temperature is 10oC.

so energy required = 165 x 4.1868 x (55-10) kJ/day     = 11.35 GJ/annum

==============

For gas heating,  seasonal efficiency  for hot water is  about 60%

so delivered energy requirement is:-               11.35/0.6   =  18.9 GJ/annum

=============

Cost of gas in Jan 2005 is around 2p per kWh

Or around £5.55  per GJ

So current annual  running cost is 18.9 x 5.55   =   £105

======

A 2.6 m2 solar collector would provide 40 - 50% of total requirement.  Assume 50%, so saving is  £52.50 per annum.  [This is probably an over estimate of saving as the saving is more to do with the sequence of use rather than any technical matter].   Thus if people have showers/baths in the morning,  there will be much less saving than if they have them late morning etc.]

So net present value at 0% discount rate, using a lifetime of the collectors of 10 years is

10 x 52.50 -  2000     =  - £1475, and so is far from cost effective.

With full rate electricity at about 7.60p per kWh (– Jan 2005 average of two tier rate) or about  21.11 per GJ, the saving per year becomes about  £119.80, and is still   not economically viable over 10 years.

(i.e.  the Net Present Value is 10 x 119.80  - 2000  =   -£802)

[remember that electricity will be 100% so only 11.35 GJ are needed]

At a discount rate of 5%, the cumulative discount for 10 years (year 0 + 9 years of discounting) is 8.10782 so the total effective saving is now only  8.10782 x 52.5 = £425.66 making it even less attractive as the NPV is -£1574.34 in the case of gas and  -£1028.68 in the case of electricity.

DISCOUNT TABLE FOR 5% DISCOUNT RATE

YEAR      present value                cumulative present

of   £1                             value

0                1.000000                       1.000000

1                0.952381                       1.952381

2                0.907029                       2.859410

3                0.863838                       3.723248

4                0.822702                       4.545950

5                0.783526                       5.329476

6                0.746215                       6.075691

7                0.710681                       6.786372

8                0.676839                       7.463211

9                0.644609                       8.107820

With mass production, the cost of all the components could probably be brought down to  about  £ 500 for collector,  £80 for tank,  £40 for pump,  £40 for pipe work and fittings or a total of £660, but the installation charge would still remain at  £600, giving a total cost of   £1260.  Even now the scheme is not cost effective under current fuel costs.

If the total cost could be brought under  £800, then the scheme would be just cost effective (0% discount) on present electricity prices.    This might be possible for installations in new houses.    Once installed, replacement units would be cheaper as much of the pipework would last for 40+ years,  but pumps would need replacing every 10 years,  and hot water cylinders every 20 years.   The installation costs with replacements would be less too, so the project would be come more viable over a 20/30 year period,  but would still fall way short in the case of gas.

If Government were to invest money  (i.e. subsidise the installations such that they just became cost effective over 10 years,)  then the subsidy per collector would have to be about £940 per collector - or £1260 - £323).  Bearing in mind that all the above figure were the most optimistic,  a subsidy of nearer £1000 per collector would actually be required.

To install collectors in all  the suitable domestic properties (i.e 15 million out of 23 million) and using this subsidy figure would involve an investment of  £0.5 billion pounds per annum and £15 billion pounds in total.

With 250 working days, and each collector requiring 2 people for 2.5 days to install some 10000 people  would need to be employed solely in the installation with  a similar number in  sales, distribution, ordering, purchasing.  A  similar number again perhaps  would be involved n manufacture .  In the early years 500000 units a year is an over estimate,  but is one that could be achieved in time.

15.18 Potential maximum saving from solar hot water heaters

Currently only about 2000 collectors are installed a year.  Let us assume that a concerted effort is made with a target in the first year of 50000 units raising by 50000 a year for 10 years and then remaining constant as the market would start to see saturation effects.  We shall neglect the issues relating to replacement collectors  and concentrate only on new installations beginning in 1997 and continuing for 40 years.   This would mimic the start of central heating installations in the late 50's and which now have achieved a penetration of about 83%.    From 10 years into the program there would be an increasing development of the replacement market and the labour force involved in this and the new installation would be sustainable in the future.

Energy is required to produce each collector in the making of the glass pipe work etc.,  (about 15 GJ per collector is needed according to Chapman 1974.  In two years energy investment will have been repaid. Collectors are likely to have a live span of 10 years, and replacements will also be needed, but once again we shall neglect these replacement energy costs.

Fig. 15.19  Actual Energy saved over the period

Energy will also be consumed in the pump circulating the water assumed at 60W for an average of 8 hours per day.    This represents an annual consumption of  0.63GJ per annum per collector.   If the solar collectors replace conventional heating in ratio 80% gas to 20% electricity,  then the saving will be about 0.5*(0.2*11.35+0.8*18.89) = 8.69 GJ.  Allowing for electricity used in pumping (0.63GJ) represents a net saving of about 8GJ per annum.

In the accompanying graph it is assumed that 100000 units are installed in each of the first 5 years,  200000 for next 5 years,  300000 per year for the next 5 until a saturation of 500000 units a year is reached.  This would mean that 11.5 million households would be fitted by 2030 or 50% of total housing stock or about 80% of those house  suitable for installation (i.e. not flats).    This installation rate would mirror the installation rate of central heating in last 35 years.

Energy savings are shown on accompanying graph and show a net rise in consumption in year 1 and a total national saving of only 0.50% by 2020, and 0.94% by 2030.  As a proportion of net domestic consumption the figures are higher at 2.5% and 4.7% respectively.

The following graphs show the percentage saving in energy for the whole, UK,  the reduction in CO2 emissions,  and other factors associated with solar collectors.

Fig. 15.20  Saving as a percentage of  Total UK Energy

Fig. 15.21 Number of new installed collectors.

The total number of households is presently about 23 million, but many of these would be unsuitable for solar collectors - e.g. high rise flats etc.

Fig. 15.20 Reductions in CO2 emissions

15.19  Example of Space Heating by Solar Energy - Questions like this have been set on two occasions in the exams - 1981 and 1986

Briefly describe the options available for storing energy in the domestic sector.

Fig. 15.22 below shows the distribution  of solar radiation for a clear day in March.  A  house has a heat requirement of 300 WoC-1,  and the internal temperature is kept at 20oC.  Estimate the area of solar collector required if the house is to be self sufficient in energy in the summer months from March onwards. The following data are relevant.

mean external temperature in March   - 6.9oC

efficiency of solar collectors         40%

incidental gains in house              1.5 kW

Energy storage is to be provided in the form of a hot water store operating over a 25oC temperature range.   Estimate also the minimum volume of the store required to be compatible with the above solar collection scheme.

You may need to consult the notes from the practicals for some points.

The heat loss rate is 300 WoC-1 and as there is 1.5 kW of  "free heat" from incidental gains from passive solar energy,  body heat appliances etc.  this will automatically heat the temperature of the house through

1500 / 300   =  5 oC

Thus the effective temperature difference between inside and out =  (15 - 6.9) *300          = 2430 Watts

= 209.952 MJ/day

Reading of graph,  and noting that curve is symmetric = the total energy collected per square metre per day is:-

0.4  x    86400   x   2   x     (  10 + 50 + 175 + 325 + 485 + 575)

|                  |                                                          |

efficiency     |                                                          |

seconds in a day                                data from graph

[ x 2 because of symmetry]

=  4.6656 MJ/day/square meter

Thus total area of collector needed   =  209.952/4.6656   =   45 square metres

Now replot the graph to show total energy gained from 45 m2 allowing for efficiency - i.e. each value in previous graph is multiplied by 45 an 0.4 to give figure on next page.

The horizontal line at the top of the light grey area represents the mean energy lost.

Fig. 15.22 Distribution of Solar Energy throughout a typical day in March

Reading of graph,  and noting that curve is symmetric = the total energy collected per square metre per day is:-

0.4  x    86400   x   2   x     (  10 + 50 + 175 + 325 + 485 + 575)

|                  |                                                          |

efficiency     |                                                          |

seconds in a day                                data from graph

[ x 2 because of symmetry]

=  4.6656 MJ/day/square meter

Thus total area of collector needed   =  209.952/4.6656   =   45 square metres

Now replot the graph to show total energy gained from 45 m2 allowing for efficiency - i.e. each value in previous graph is multiplied by 45 an 0.4 to give figure on next page.

The horizontal line at the top of the light grey area represents the mean energy lost.

Replotted graph showing total energy for whole collector and area where storage is necessary

The light grey area represents the region where energy is being withdrawn from storage, while the dark grey area is the recharge of storage.   Hence the total required storage is the light grey area.

Between midnight and 06:00 and 18:00 to 24:00,  there is no solar gain, and heat has to be withdrawn from storage at a rate of 2430 W =  2430 * 12 * 3600/1000000 = 104.976 MJ

In addition there is partial withdrawal from storage between 06:00-07:00, 07:00 - 08:00 and corresponding periods in late afternoon.

The  energy withdrawn in these periods is

2 * [(2430-180)*3600 + (430-900) *3600)/1000000 =  27.216 MJ

and total energy needed in storage =  104.976 + 27.216 =  132.192 MJ

The same result is obtained if the area of the solar gain histogram which is above the 2430 line is evaluated.

Plot of  Total solar Energy after allowance for efficiency and collector area.  The light grey shaded area equals the storage required.

Each cubic metre of water weighs 1000 kg,  and thus the energy stored per cubic metre per 10C temperature rise is     4.1868 MJ [ this is specific heat of water from data book).

Thus with 25oC temperature range,  the volume required =   132.192 / 4,1868 / 25

= 1.34 cubic metres.

================

This example shows the result when the heat loss is steady.  In the case of  heating hot water by solar energy,  the usage will be far from constant,  but the same basic method may be applied.  Perhaps the easiest way to tackle such a problem is to start at midnight and work out the cumulative gain over the day making allowance for use.  This represents the net energy in storage.  If the collector area is sized correctly then when the end of the day is reached there should be no energy remaining in storage.  The maximum positive value of storage during the day represents the maximum energy to be stored, and from this the maximum storage volume can be ascertained.

16. WIND ENERGY

16.1 Introduction - theory

Energy from wind is obtained by extracting KINETIC ENERGY of wind.

where V is velocity of wind,,   and m is mass of air

but mass of air flowing through blades in 1 sec.

=  density x area x distance travelled in 1 sec.

=        A   V

where A is the area swept by the blades,

and    is the density of air

Thus    	............ (1)

Equation (1) is the theoretical amount of energy present in the wind.

HOWEVER, this assumes that all the air is brought to a standstill, which it can't be otherwise the air would pile up.

By calculus it can be shown that the THEORETICAL MAXIMUM POWER which can be extracted is 59.26% of the KINETIC ENERGY in the wind.   This is also known as the Betz Efficiency, and is a theoretical limitation on the amount extracted

Practical Efficiencies reduce the amount of power extracted further.

The best modern aerofoil machines achieve about 75 - 80% of the THEORETICAL EFFICIENCY - i.e. 40 - 45% overall, but most rarely exceed 30%.  Older machines such as the American farmstead multi-blade machine usually achieve efficiencies of less than 20%..

A typical Load Factor for Wind Energy Convertors is 30%,  but often significantly less.  Because of poor design and spacing,  the load factor in California is only 20.8%

16.2  Types of Wind Machine - may be classified in   three ways.

i) by type of energy provided.

a)  electrical output

b)  mechanical output - pumping water etc.

c)  heat output - as a wind furnace

- mechanical power is fed to turn a  paddle in bath of oil or water which   then  heats up e.g. device near Southampton.

ii) by orientation of axis of machine

a)  horizontal axis   - HAWT

b)  vertical axis        - VAWT

iii) by type of force used to turn device

a)  lift force machines

b)  drag force machines

For electrical output, lift type machines are needed which have blade tip speeds several times the wind speed.   The will have few blades as multiple blades increase turbulence and affect the lift.  Most turbines are either 2 - or 3 - bladed,  but some early designed had 4 - blades,  and  a few have just one blade.

Drag type machines (blade tip speeds are less than the wind speed) and are more suited to high torque applications such as water pumping / heating.)

Drag machines have a high solidity - i.e. the amount of the swept area is high.  Typical examples are the multi-bladed American farmstead water pump and the Savonius rotor.

NOTE: The output from a DRAG type machine would have to be geared up by a factor of 100 and consequently very large transmission losses to be suitable for electricity generation.

16.3  Sizes of Machines for different Power outputs.

Output power of machine may be determined from equation (1).

POWER is proportional to swept area (i.e. square of blade diameter) and cube of wind speed.

|  |  | Wind Speed (m/s) |  |
| --- | --- | --- | --- |
| Blade | 5 | 10 | 15 |
| diameter (m) | (kW) | (kW) | (kW) |
| 1 | 0.02 | 0.16 | 0.53 |
| 2 | 0.08 | 0.6 | 2.1 |
| 5 | 0.49 | 3.9 | 13.3 |
| 10 | 1.96 | 15.7 | 53 |
| 20 | 7.85 | 63 | 212 |
| 50 | 49.1 | 393 | 1325 |
| 100 | 196 | 1571 | 5301 |

Output power assumes that overall efficiency of machine is 40%.

Variation in output with height of  rotor.

Fig. 16.1 [adapted from Cranfield University WEB site] showing variation in wind speed.  Overall there is a logarithmic profile to the mean wind speed contour as shown.

Fig. 16.2   Zone of affect wind patterns over a wood.  Downwind,  there can be significant  change in the flow regime causing differential loading on the turbine.

Above the wind surface there is a boundary layer and the wind speed, in the absence of minor fluctuations varies in a logarithmic fashion.  Fig. 16.1 (adapted  from the Cranfield WEB page) shows such variation superimposed on a logarithmic profile.  Thus the higher the turbine hub,  the higher the wind speed, although the variation becomes less as the height increases.  typical hub heights are around 50m, but measurements of wind speed are often done at 10m

Variations such as these can place severe differential loading on the blades and can lead to premature failure from fatigue.  At one time between 5 and 10% of the 10 000 turbines (i.e. 500 - 1000 turbines) were showing severe signs of fatigue.

It is thus undesirable to site turbines close to areas where turbulence is likely to be significant - e.g. downwind of an urban areas or woods.

13,4  nature of Wind Speed data for Wind Energy Predictions

Though records of wind speed are kept, they are often average over a period too long for  effective use for analysis.  hence the requirement in NFFO for hourly readings for a period of a year.  Further they are often made at a height other than that of the rotor, and an approximate extrapolation must be used o estimate the true wind speed.

However, the most serious problem with the data can arise from the way in which the data is averaged.  The following data shows the mean wind speed as measured on an hourly basis.

| Time | Wind Speed m/s | cube of Wind Speed | Time | Wind Speed m/s | cube of Wind Speed |
| --- | --- | --- | --- | --- | --- |
| 00:00 | 3.5 | 42.9 | 12:00 | 8.1 | 531.4 |
| 01:00 | 4.0 | 64.0 | 13:00 | 8.0 | 512.0 |
| 02:00 | 4.3 | 79.5 | 14:00 | 7.1 | 357.9 |
| 03:00 | 4.8 | 110.6 | 15:00 | 6.2 | 238.3 |
| 04:00 | 5.3 | 148.9 | 16:00 | 5.0 | 125.0 |
| 05:00 | 5.6 | 175.6 | 17:00 | 4.3 | 79.5 |
| 06:00 | 6.5 | 274.6 | 18:00 | 4.0 | 64.0 |
| 07:00 | 7.3 | 389.0 | 19:00 | 3.8 | 54.9 |
| 08:00 | 8.4 | 592.7 | 20:00 | 3.0 | 27.0 |
| 09:00 | 8.2 | 551.4 | 21:00 | 2.5 | 15.6 |
| 10:00 | 8.0 | 512.0 | 22:00 | 3.0 | 27.0 |
| 11:00 | 8.3 | 571.8 | 23:00 | 2.8 | 22.0 |

The mean wind speed for the 24 hour period is 5.5 metres per second.

On the other hand the output from a wind turbine depends on the cube of the wind speed, so more correctly  in determining the effective mean wind speed we should first cubed the wind speed,  determine the mean of the cubes and then take the cube root.  In the example shown,  the effective wind speed now becomes 6.14 metres per second,

When we compare the output using the original figure of 5.5 m/s with the revised figure,  there is a difference of just under 40% i.e. the true output is nearly 40% greater than that determined from the crude mean.

Frequently data is only available on a daily mean, or even monthly mean basis,  and so estimates based on such values will often be less than the true resource.

Using the corrected mean speed as indicated above will improve matters,  but it may also over compensate.  Thus wind turbines for electricity generation cannot operate below a certain cut-in wind speed - typically  around 4.5 - 5 m/s,  and secondly,  above the design speed the blades are normally feathered so that the output is at the designed speed.  Finally,  in extreme gale force conditions,  the turbines are shut down to prevent structural damage.  Thus a better way to assess the potential output is to take frequent wind speed measurements (e.g. hourly or more frequent,  and use a power rating curve to evaluate the actual power output.

Fig. 16.3 Turbine rating Curve.

Turbines are often classified by their size,  and this refers to their design output.  In the example shown in Fig. 16.3 this would be 3o0 kW, and this output would be sustained at any wind speed between  12 and 25 m/s.  Above 25 m/s the turbine would cease to operate and there would be no output.  Similarly below about 3 m/s there would be no output, whereas at a wind speed of 10 m/s the output would be 228 kW or 76% of the rated output.  Provided that the turbine is reliable, free from blade failures,  then it should now possible to achieve a load factor of 30%  based on the rated speed.  This appears to be near the upper limit, certainly at present, and even the Llandinam Wind farm which was designed to operate under a 29% load factor has actually achieved as low as 21% in some years.

Turbine rating curves for different wind turbines may be found at:

http://emd.dk/euwinet/wtg_data/default.asp

16.5 Arrays of Turbines in a Wind Farm

It is easy to estimate the output from a single wind turbine using the rating curve,  but interactions between turbines occurs when they are clusters in a wind farm.  If the wind is predominantly uni-directional,  then they may be sited in rows at right angles to the wind direction (e.g. the Altmont Pass in California),  but more often the interactive effects must be considered.  Turbulence from one machine can affect neighbouring ones, and particularly those downwind.

Johansson et al (1993) give a table showing the effects of  clustering

| Array Size | 5D spacing | 7D spacing | 9D spacing |
| --- | --- | --- | --- |
| 2 x 2 | 87 | 93 | 96 |
| 3 x 4 | 76 | 87 | 92 |
| 6 x 6 | 70 | 83 | 90 |
| 8 x 8 | 66 | 81 | 88 |
| 10 x 10 | 63 | 79 | 87 |

The above table shows the percentage production of wind power had there been no interference between turbines.  Clearly, less than 7 diameters spacings are unacceptable, and current wisdom is to use between 7 and 10 diameters as the norm.  In California, many early machines were sited at 1.5 - 3 diameters, and this partly explains the very poor load factors.

16.6 Examples of Wind Devices in existence

A 1.25 MW machine was installed in Vermont in 1941, but was taken out of service when one of the 7 tonne blades broke off and flew 1/2 mile.  A 60 kW device was installed in UK in 1956 but later abandoned.  A 1.25 -kW machine at Tvind in Denmark has provided energy needs for a School for  over 20 years, while many wind turbines have been constructed in Denmark in last 10-15 years..

In California, and other parts of States (e.g. Hawaii), wind farms have been established mostly as a result of tax incentives.  Problems with blade fatigue have occurred, and most have had to have blades renewed.   Some turbines have had a build up of insects on the blades which have caused the turbines to consume energy rather than generate energy.

Because of the sudden investment, many mistakes were made and the whole wind energy development nearly collapsed through people understanding  the economic advantages from tax credits, but had no idea on how to site turbines, build ones which operated reliably etc.  In the early years there were many days when large numbers of machines in California were not operating despite sufficient wind, because of failure/poor maintenance,

Some very large machines, although performing very well,  and are economical in both land area and efficiency suffer from difficulties when failures  do occur.  For example,  on Oahu (Hawaii),  just the cost of hiring a large crane for the week of maintenance cost  as much as the value of the total output of electricity for a whole year.  On top of that had to be added the cost of the replacement gear box.

Fig. 16.4  A 2.5 MW Wind Turbine in Hawaii.  The blade diameter is over 90m.

One of the largest wind turbines ever built was in the Orkneys - a 3 MW device with a blade diameter of just under 100 m

Until 1990 there were few other wind turbines in UK,  the most notable being:-

three in Orkneys including one 3MW device - largest in world

one 1 MW device at Richborough Power Station,

30 kW  machine at Boroughbridge,

one of  150 kW size near Southampton.

odd ones in Cornwall [these were blown up by National Power in 1994]

four of different designs at Carmarthen Bay,  including 2 vertical axis machines.

several 5-15 kW devices, and numerous 50-200W devices.

Wind Energy has always been seen as  perhaps most effective renewable source of energy - even CEGB acknowledged this.

| NFFO | Date of Announce-ment | Contract Term [years] | Ending | Band split point MW dnc | Band | Number of projects | Capacity [MW dnc] | Price Offered | Lowest Contr'd Price (p/kWh) | Avg Contr'd Price [p/kWh] | Highest Contr'd Price [p/kWh] |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Sept 1990 | ~7 | Dec 1998 | - | - | 9 | 12.221 | strike | - | ~110 | - |
| 2 | Nov 1991 | ~6 | Dec 1998 | - | - | 49 | 84.43 | strike | - | 11 | - |
| 3 | Dec 1994 | 15 | Mar 2014 | 1.6 | large | 31 | 145.92 |  | 3.98 | 4.32 | 4.80 |
|  |  |  |  |  | small | 24 | 19.71 | bid price | 4.49 | 5.29 | 5.99 |
| 4 | Feb 1997 | 15 | Dec 2016 | 0.768 | large | 48 | 330.4 |  | 3.11 | 3.53 | 3.80 |
|  |  |  |  |  | small | 17 | 10.4 | bid price | 4.09 | 4.57 | 4.95 |

NOTE: for NFFO-3 and NFFO-4  there is no fixed prices  paid for wind energy generated.

16.7 Effects of NFFO on wind power.

In  the first two NFFO tranches in 1990 and 1991 , a total of 96 MW was given go ahead.  The NFFO specified wind power subsidised at about 11p/kWh (c.f. price to consumer of 7.4p, and coal and nuclear in range 3-5p.

Largest collection of Wind Turbines in Europe is at Llandinam in Powys 				- 103 x 300 kW turbines

Other significant ones in UK  include    24 x 300 kW at Mynydd - y – Cemaes and 24  x 300 kW on Anglesey and groups of 1 - 20 of similar sized machines at about 30 other sites in UK.

In the last few years,  Spain and germany have been installing Wind Turbines at the rate of 1000+MW per year which is several times the total installed capacity of the UK.

16.8  Experience in USA

Through Tax Incentives etc there was a massive investment in Wind Power in the early 80s,  but many mistakes were made.

Several of the the early turbines have been removed, but some have been replaced by larger machines such that the mean turbine size has increased from about 84 kW to 105 kW in 1994.  This last size is small compared to those normally installed in UK.  many of the turbines were unreliable and placed very close together such that the initial load factors were very low being only just over 10% (see Fig. 3.3).  In recent years the load factor has risen to 22%, but still well below that normally expected of 30%.

Fig. 16.5 Number of turbines installed in California.  The total number operating has remained nearly constant.

16.9 Problems cited regarding Wind Power

1)	Visual Intrusion - machines will be large 60+ m high with a blade diameter up to 30-40m   (300 kW size).  FIRM power output from such a device would be about  0.1MW. - i.e. 12000 such devices would be needed to provide equivalent firm output of Sizewell B.

2)	Machines will have to have a minimum spacing of  7 -10 blade diameters  (except when wind is always in same direction -Altemont Pass in California) - i.e. machine must be spaced at  about 200 - 300m intervals  to avoid interference effects.  At 300m  spacing,  the mean output from a machine is reduced to about 95% of output of a single machine. Interference effects not only reduce output but also can generate high stresses on blades leading to failures.  At 300m spacing,  the land area required to replace the equivalent firm power of Sizewell B is:  1080  sq  km (see section 1.  For details).

Fig. 16.6 Variation in Installed capacity and electricity generated

Fig. 16.7 Variation in turbine size and load factor with time for California Wind Farms

16.9 Problems cited regarding Wind Power

1)	Visual Intrusion - machines will be large 60+ m high with a blade diameter up to 30-40m   (300 kW size).  FIRM power output from such a device would be about  0.1MW. - i.e. 12000 such devices would be needed to provide equivalent firm output of Sizewell B.

2)	Machines will have to have a minimum spacing of  7 -10 blade diameters  (except when wind is always in same direction -Altemont Pass in California) - i.e. machine must be spaced at  about 200 - 300m intervals  to avoid interference effects.  At 10 blade diameter  spacing,  the mean output from a machine is reduced to about 95% of output of a single machine. Interference effects not only reduce output but also can generate high stresses on blades leading to failures.  At 10 blade diameter spacing spacing,  the land area required to replace the equivalent firm power of Sizewell B is:  810  sq  km based on 1.5 MW machines.

[see example of calculation given in the introductory section which examines two separate methods for calculating land area required].

3)	 Land around machines could still be used for agriculture, but not for buildings.

a)	buildings induce turbulence which reduces effective energy in the wind.

b)	proximity of buildings is a hazard if a blade comes off.  If one does it has a 5% chance of travelling 500m, but even distances of several kilometres are possible.

4)    7% of turbines in California showed problems of blade fatigue failure within 2 years.

5)	Noise effects may be significant, and in particular infra sound which may cause buildings to resonate.  Current guidelines suggest that the noise level should be no more than about 40 - 45 dB at the nearest building.  This is lower than day time noise level,  but higher than night time background level.  A separation distance of around 300 m is required.

6)	TV interference in local region and radio interference over a large region, particularly if an array of machines acts as a long wave radio transmitter - may affect emergency service frequencies.

7)	planning permission.  In the past, the CEGB  have been denied permission for windmills.

8)	Hazards to migratory birds.   This is an over-rated issue,  and hazards to birds is no greater than for other structures.   Anecdotal evidence from California suggests one to two bird strikes per month or one per every 5000 - 10000 turbine-years

Fig. 16.8  Ice formation on a Wind Turbine

9)	Ice formation on tower and blades which might cause uncontrolled vibrations or blocks of ice to fly off.  [It can be readily shown that this distance can be as great as 250m for a 330 kW machine.]

16.10  Economics of Wind Power

Machines installed  as  part of NFFO 1/2 are producing electricity at a price of 11p/kWh which is subsidised under the NFFO agreement.

The following calculation illustrates the cost of wind power, and the distortion created by the original NFFO agreements.

The data used approximates to that for the Llandinam wind farm for which there are 103 turbines each of a 300 kW capacity.  The devices are predicted to have a 30% load factor which account for the variability of the wind.  Thus the total electricity generated by each turbine will be:-

300 x 0.3  x 8760   =    788400 kWh per year or  2.84 TJ

[in 1995/1996 the actual load factor was nearer 215]

The capital cost for each machine was approximately £340000  (this is towards the upper end of the range of £600 - £1200 per installed kW,  but is realistic in that this tallies with the unit cost of electricity generated as will be shown below.

The total number of staff is 10 of whom 5 are Engineers with an average Salary around £25000,  and 5 are maintenance and other workers with an average salary of £15000.   National insurance, pension and overhead costs are around 60%,  so the annual salary cost is £320 000 per year.   There is some data on maintenance,  but not for the UK.  It is usual to assign  5 - 10% of capital cost as maintenance,  but as there are relatively few things to go wrong a figure of 1.5% is suggested (c.f. 2% for US).   This gives  a total annual cost  of:-

103  x   340000 x 0.015   +   (5   x   25000 + 5 x 15000)  x      1.6

|                |             |              |                       |

turbines     |    maintenance    |                       |              overheads

capital cost             Engineers     Maintenance

Staff

=    £845300

It is assumed that  Salaries  and Maintenance  rise at a compound rate of 5% per annum,  and that  a discount rate of 10% is used in the calculations.   This  in effects approximates to a real rate of return of 5% (i.e. 10 - 5).   It is also assumed that the project starts in 1993,  and initially,  it will be assessed to conform to the NFFO.  i.e. the aim will be to have a Net Present Value for the project running until 1998.

The effects of allowing different percentage maintenance charges is seen.  for a doubling of charges from 1-2% there is little significant change.   After 10 years,  the gearbox and generator will  need renewal.   Costs vary from 20%  of capital (i.e. £63000) to 33.33% (i.e. £105000),  or the estimate that the cost will be about equivalent to the annual output of the machine (i.e.  788400 x 0.11) or about £90000.

All three of these are explored.  For the central case of £90000,  the effects of different maintenance charges are seen.  For the other two figures, the maintenance charges have been standardised as 1.5%.

The values in the columns show the prices that must be paid for the electricity generated for the project to pay back by the year concerned.   Irrespective of the percentage maintenance charge or the refurbishment costs chosen,  all the figures,  are very consistent with quite a range of chosen values.   It would appear that for the  period up to 1998 (i.e. that covered by the NFFO),  a cost around 10.5-11.0p would appear valid.  Not surprisingly,  the NFFO  agreed prices is in fact 11p per unit (cf 3-5 for coal and nuclear). or a subsidy of around 7.5p (assuming 3.5 average for others)   If on the other hand the period is extended to a ten year life,  then the cost could be dropped to around  7.5p, and the subsidy would then be 4p per unit..   In other words nearly double the number of wind turbines could have been supported had the EC legislation allowed Britain to subsidise  renewable energy until 2003.   After 10 years,  some major costs can be expected,  but ultimately over a possible life of 20 years,  the cost per unit will fall to around  6 - 7p

| Period | Refurbishment after 10 years £90000 | 1.5% Annual Maint- |
| --- | --- | --- |
| ending | Annual Maintenance % assumed | enance: Refurbishment |
| in YEAR | 1% | 1.5% | 2% | 5% | £63000 | £105000 |
|  | p/kWh | p/kWh | p/kWh | p/kWh | p/kWh | p/kWh |
| 1994 | 43.950 | 44.170 | 44.380 | 45.680 | 44.170 | 44.170 |
| 1995 | 23.150 | 23.270 | 23.390 | 24.110 | 23.270 | 23.270 |
| 1996 | 16.250 | 16.340 | 16.420 | 16.950 | 16.340 | 16.340 |
| 1997 | 12.820 | 12.890 | 12.960 | 16.400 | 12.890 | 12.890 |
| 1998 | 10.780 | 10.840 | 10.900 | 11.290 | 10.840 | 10.840 |
| 1999 | 9.430 | 9.490 | 9.550 | 9.900 | 9.490 | 9.490 |
| 2000 | 8.480 | 8.530 | 8.590 | 8.920 | 8.530 | 8.530 |
| 2001 | 7.780 | 7.830 | 7.880 | 8.200 | 7.830 | 7.830 |
| 2002 | 7.240 | 7.290 | 7.340 | 7.660 | 7.290 | 7.290 |
| 2003 | 6.820 | 6.870 | 6.920 | 7.230 | 6.870 | 6.870 |
| 2004 | 8.140 | 8.200 | 8.250 | 8.550 | 7.790 | 8.630 |
| 2005 | 7.800 | 7.850 | 7.900 | 8.210 | 7.460 | 8.260 |
| 2006 | 7.510 | 7.560 | 7.620 | 7.930 | 7.190 | 7.960 |
| 2007 | 7.270 | 7.330 | 7.380 | 7.700 | 6.960 | 7.710 |
| 2008 | 7.070 | 7.130 | 7.180 | 7.500 | 6.780 | 7.500 |
| 2009 | 6.910 | 6.960 | 7.020 | 7.350 | 6.620 | 7.320 |
| 2010 | 6.760 | 6.820 | 6.870 | 7.210 | 6.480 | 7.170 |
| 2011 | 6.640 | 6.700 | 6.760 | 7.110 | 6.370 | 7.050 |
| 2012 | 6.540 | 6.600 | 6.660 | 7.020 | 6.270 | 6.940 |
| 2013 | 6.450 | 6.510 | 6.570 | 6.940 | 6.190 | 6.850 |

16.11 Other considerations

Most electrical appliances run off AC, but batteries storage electrical energy as low voltage DC.  Some appliances are dual voltage, but costs then are high making them unattractive.

Assuming no electric space or water heating, the typical consumption of the average household averages about 300 - 500 watts, but may peak at 2000 - 5000 watts if washing machines etc. are in use.  A small diesel generator supplementing a wind machine makes sense, and cuts down on the capital outlay on storage otherwise needed.

A temporary caravan/house in Wymondham has such a system, and has many appliances which run off both low voltage DC and normal AC.

Connection of wind turbines directly to grid does create problems of synchronisation. Computer control of blade angles is needed to ensure blades are turning at correct speed.

16.11 Siting of Wind Farms

The energy extracted from the wind depends heavily on the wind speed. and a typical annual output in the UK can be shown to be about 30% of the rated output.  This allows for periods of calm, and periods when the wind speed is so great that the blades have to be partly feathered to avoid structural damage.

The total wind resource which could be extracted if both inland and offshore sites were extensively developed would be about 780 PJ per annum or about 75% of the current output  in the UK of  National Power and PowerGen.  An installed capacity of about 100000 MW (i.e. 1 million machines) would be required  for this  compared to about 60 000MW in the whole of the UK at present.

NOTE: The lower layers of the air mass are retarded as a function of the roughness of the earth's surface.  Thus coastal sites can generate twice as much energy as in land sites, but offshore, the amounts generated are much greater still.

Hill top sites are best as the lower layers of the air mass passing over the hills are accelerated, and hence wind speed is increased.  However, these are likely to be the sites which have most visual intrusion.

16.12 Offshore Wind Farms

Offshore wind farms have attractions in that many of the environmental impact problems are minimised,  and wind speeds are greater than on land.  However, they would present a significant hazard to shipping..

However, the machines would still have to be sited at about 0.5 - 1.0 km spacing, and foundation problems would be very great.  Not only would they have to withstand waves (as do oil-rigs), but also large lateral wind loading in storm force conditions.

Even with the increased wind speed (meaning smaller machines), the increased construction costs make such devices less cost effective than land based machines.

Maintenance of such machine would be more difficult than those on land.

Denmark has had experience since mid 1990s and other coutnries are following.  The UK had plans for an offshore Wind Turbine in 1988, and then in 1996 under 1996 other schemes were approved but have yet to materialise.  There is one offshore scheme at Blyth in Northumberland.

Fig. 16.9  Die erste Offshore-Windfarm Danemarks wurde bei Vindeb vor der Insel Lolland errichtet (11 x Bonus 450 kW).

Die nachste Windfarm entstand vor den Toren von Arhus

Offshore sites in relatively shallow water  in UK which are being considered are:-

1) Wash and adjoining areas of North Sea

2) Thames Estuary

3) Severn Estuary

4) Cardigan Bay

5) Morecombe Bay/Solway Firth

in 2001, two off shore Wind Turbines were sited at Blyth in Northumberland, and there are now several schemes in the planning e.g. Scrooby Sands in Norflok and Gunfleet Sands off the Essex Coast,

NOTE:   The idea that redundant Offshore oil platforms could be used for wind turbines, is largely an irrelevant argument,  as only one or at most two could be sited on any one platform.   Instead sites for hundreds/ thousands are needed.

In Holland,  a Wind Farm has been constructed close to the dyke near Lelystad in Flevoland.  Each Turbine as its own small bridge to the shore.

16.13 Operational Considerations

The largest wind farm in terms of numners of turbines (as opposed to outpu) in Europe is cited  at Llandinam in Wales and consists of two groups of turbines (one consisting of 63 machines, and the other of 40).  The staff required to run the wind farms  number 10,  and the maximum generation is 30.9 MW.  It is interesting to speculate on the labour force requirements in proportion to conventional stations.   A 2000 MW  coal fired power station employs around 600- 650,  so  the output per employee is 3.07 - 3.33 compared to  3.09  for the Llandinam Wind Farm.  It could be argued that since the Wind Farm does not supply firm power,  that the firm power equivalent at Llandinam would be only about 1 MW per employee.   However, the argument regarding firm power only becomes relevant once the total installed capacity of wind generation (and other renewables) becomes large - say 5%+.    In the case of CCGT stations however,  26 employees are associated with the 229 MW station at Roosecote, or about 8.8 MW per employee.

Fig. 16.10  Near shore wind turbine near Lelystad

Wind farms in off shore or coastal regions would  supply concentrations of power at locations where the main transmission links are either non-existent or can only transmit relatively low power, so some strengthening of the grid would be required.

Wind Power is very variable, and although it tends to be highest in winter when demand is greatest  (unlike solar energy), there are periods of calm even during winter.  Even if the aggregated power from all wind machines were taken then there would be some periods of very low aggregate output and supplementation from conventional fossil fuelled plant would be necessary.

With up to 20% electricity from wind, no particular problems are foreseen in operating a generating system, as sudden short periods of aggregated calm can be coped with using pumped storage, gas turbines, and a few fossil fuelled stations running light.  Above 20%, problems would arise unless significantly more pumped storage or hydro power were provided.

This is a major constraint on the maximum potential exploitation of the wind resource.

Ordering of plant would have to be a considerable rate if wind power is to make a significant contribution to electricity generation.

Some predications made in the late 1970's/ early eighties suggest that  up to 20% of demand could be achieved by about 2020 - 2025.    To achieve that level now would required the building of 310 such machines every month  between now and 2020.

Availability of wind turbines is high at 95%,  and this dictates the labour force required.    Thus for the Llandinam  Wind Farm,  the number of days lost can be estimated at 103 x  0.095  x 365 per year , i.e.   1880.   Of these days,  2 in every seven (i.e. weekends) would presumably  be lost as machines would be attended to during week.   This gives  about 1350  man-day per year or 4 people.   Allowing for holidays etc.,  this would suggest a staff off 5 maintenance personnel.    Normally,   one expects about an equal number  of supervisory staff (e.g. plant operators),   clerical staff,   so  one can estimate  total staff numbers at 1 0.   A phone call to Llandinam on April 23rd 1993 confirmed that  their normal workforce totals  10 (they have 9 at present with one vacancy).

16.14 Types of Machine - Drag devices.

These devices rely on the drag present by the sails/blades of the wind device to the wind.

a)  VERTICAL AXIS DRAG DEVICES

S - SHAPED ROTOR

Fig. 16.11   A Savonius Rotor

In its simplest form, this device consists of two semi-cylindrical metal sheets welded together to form an 'S' shape in plan.

The concave side presents a high drag coefficient to the wind while the convex face has a relatively low drag coefficient.  The device thus rotates.

It is self starting, and produces moderate torque, but the tip speed is limited to the wind speed.  Efficiencies are low - typically about 10% or less.

APPLICATIONS:- water pumping, wind furnace

A variant of this device separates the two parts of the 'S' - This is the SAVONIUS MACHINE.  Wind deflected by the windward cup is partly redirected to push the opposing cup.  Efficiencies of this are somewhat improved - up to about 10 - 20%.

PERSIAN "TURNSTILE" DEVICE

In Iran walls were constructed across valleys, and provided with openings with vertical axis devices shaped like a turnstile.  The wind pushed one sail forward while the opposing sail moving towards the wind was sheltered by the wall (i.e. its drag coefficient was low).  Thus a valley was dammed to extract wind power in a similar manner to hydro power.

APPLICATION -  grinding corn

b) HORIZONTAL AXIS DEVICES - RELYING MOSTLY ON DRAG

The traditional windmill was of this type with efficiencies up to 10%.  The American farm wind multi-bladed device is another example.  Here with careful shaping of the blades efficiencies up to 30% have been reached, but most devices have efficiencies nearer 15%.

NOTE: The forces on the blades are proportional to their area, and so the multi-bladed device has a large starting torque which makes it ideal for water pumping as it is self starting even against a pumping load.  However, the multiple blades create substantial eddying and turbulence at high rotor speeds which limit the efficiency.

Horizontal axis machines must be pointed into the wind to achieve maximum output.  In gale force conditions, they present very large wind loads on the supporting structure, and The multi-bladed variety must be feathered by turning the hub axis at right angles to the wind.

Fig.  16.12  A typical horizontal drag device used for water pumping in USA.

16.15 Lift Devices

These devices have blades which are carefully shaped into an aerofoil and rely on lift for operation (see Fig. 16.13).

Fig. 16.13   Representation of forces acting on an aerofoil.  The blade should be viewed as though the observer is above the wind turbine and looking directly down on a blade which is just reaching top dead centre.

a) HORIZONTAL AXIS LIFT DEVICES

In these devices, the axis of the machine must be pointed directly into the wind.

The blades rotate in a plane at right angles to the wind, and the relative velocity of the wind to the blade is the vectorial sum of the wind and blade velocity.  IT IS THIS RELATIVE VELOCITY WHICH DETERMINES THE LIFT FORCES ON THE BLADE.

The blade is tilted at the BLADE ANGLE so that the angle of attack is optimum.  Lift forces are produced by the lower pressure created on the upper side of the aerofoil and are directed at right angles to the relative wind direction.

Drag forces are also present from the friction on the blade surface and this is directed in the direction of the relative wind.

The vectorial sum of the lift and drag forces then determines whether or not the blade will continue to rotate.  Thus if this relative force vector points in the direction of the blade motion, the blade will continue to rotate.  If the resultant vector points in the opposite direction, then the blade will stall.

Lift to drag ratios of 50 - 100 are normal with efficiently designed aerofoils, but this ratio changes with angle of attack, and above a critical angle, the drag forces increase more rapidly than the lift forces, and thus stall conditions prevail.

To minimise turbulence and eddy currents, the number of blades must be kept low, and the starting torque of such machines is also low.  To avoid slow speed stalling, the blade angles must be constantly adjusted.

Many of these devices are not self starting and need to draw power from the grid to get them going.

b) VERTICAL AXIS LIFT FORCE MACHINES

There are three types here

i)	The Darrieus Rotor shaped like a three bladed egg-beater, [ see front cover for a photograph].,

ii)	the straight bladed Darrieus rotor

iii)	the Musgrove rotor.

The Darrieus rotor is not self starting, and is very prone to stalling at slow speeds.  The angle of attack of the blades cannot be adjusted, and the device is not self starting.  Some devices incorporate a small Savonius rotor to start the machine, but this will limit potential efficiency because of the increased drag they cause.

The straight sided rotor is really the central part of a Darrieus rotor, but the pitch of the blades can be constantly varied during each revolution to optimise performance.  Stalling is less of a problem.

NOTE: frequency of change of blade angle is much higher than for horizontal axis machines.

The Musgrove rotor has hinged vertical blades which tilt inwards and this can be used to control speed of device and to reduce loadings during storm force conditions

Fig. 16.14 A Musgrove Turbine

16.16 Small Scale applications.

The power required by the average household is larger than that likely to be provided by most wind generators.  Planning Applications will be difficult in Urban areas because of noise, visual intrusion, TV interference, and danger from broken blades.

However, applications in rural communities are possible but even then relatively large device are needed (about 5+m in diameter).  Towers are needed, as most roofs are not structurally designed to take the increased wind loads.

Storage is a critical aspect of wind generated electricity.

In some circumstances, devices can be connected directly to grid.  There are attractions in this in that the Grid would then act as the storage facility.  However several conditions must be met e.g:-

1)	safety switching  - to ensure that the grid line is fully isolated should work need to be done on it,

2)	 the wind generator is fully protected against lighting strike surges which might damage the device,

3)	considerations  of costs paid for electricity exported to/imported from  grid.

The  development of wind power can be attractive as it can generate quite significant amount of energy is implemented on a large scale.   However,,   there is still a question on the problem of dealing with  a major  high pressure over the UK which would mean calm winds everywhere.  To guarantee supply,  either we must have fossil fuel power stations  which are used only occasionally,  and hence the capital cost  of these stations is not used efficiently,  and furthermore,  the efficiency of generation is likely to fall.

The consequence of this can be considered as an external cost to the case of wind generation,  and the full consequences should be accounted if as  is suggested the full external costs of pollution etc. from fossil fired power stations are to be taken into account.

The generation of electricity from wind energy  by a householder may save energy,  but will not reduce the demand for new power stations in a way that a massive switch to low energy light bulbs would.  This is because peak capacity must still be available on the grid in case of failure of the individual's supply at times of peak demand.  Only if the individual agreed to be entirely separate from the Grid supply would there be a saving.    For this reason,  a simple metering device which would run backwards when the individual was supplying electricity to the grid would not be acceptable.

However, paying for electricity at the cheapest marginal rate  (equivalent to the lowest bid price) is unfair also - this time to the wind generator owner. One problem has been that the meters used so far have been relatively simple.  In should not be impossible in these days with microprocessor control to have meters which vary the rate of charging for electricity use, and paying for electricity provided at the current  system marginal rate.

Thus if you provided surplus power to the grid during the night, when your use was low, your receipts for such electricity would be low.  However, if you were providing power at the peak time, you might receive up to four times the payment at night time.  Clearly any electricity you imported from the grid would also have to show the same price differential.

16.17   The Future

As show previously,  the dominant size of the Wind Turbines in the USA was originally about 80kW and this has risen to around 100 kW.   In Europe the average size was around 300 kW, although in the last few years machines  up to 1 - 2+MW have been built – e.g. Swaffham.

A limitation about going to higher rated machines is the problem of crane access, and that means adequate road access.  Frequently  wind farms are remotely sited and road access is limited so current wisdom is that the size is likely to be limited to around 1 – 2 MW.

Since the wind speed increase with the height of the rotor,  there is likely to be some economic benefit by building higher rotor machines - i.e.  blade diameter  (and consequential stresses) will be less for the same output.  This will improve economics of wind power.

In  1993 , Johannson et al predicted the following changes in the size of, and cost of, wind turbines. or a reduction in cost to 75% of present costs.  Much of this comes from the increased hub height.  These data were based on a typical 330 kW machine and not the latest generation of around 1MW.

|  | 1995 | 2000 | 2010 | 2020 | 2030 |
| --- | --- | --- | --- | --- | --- |
| Hub Height | 30 | 40 | 40 | 50 | 50 |
| Rotor Diameter | 33 | 40 | 40 | 51.7 | 51.7 |
| Rating (kW) | 300 | 500 | 500 | 1000 | 1000 |
| Load Factor | 28 | 30 | 33 | 34 | 35 |
| Cost installed | 1000 | 950 | 850 | 800 | 750 |

in US $ kW  [ 1990 prices]

Fig. 16.13 A final word about Wind Power - taken from the Wind Power Book.

# Text boxes

Fig. 15.3  Passive Solar Cooling

Passive solar cooling can be achieved in dry climates by inducing a flow of air through the house.  The incoming air passes over damp cloths and this cools the air as the water evaporates.  Temperature depressions of 5 - 10oC are possible.